Non-destructive and direct determination of the degree of substitution of carboxymethyl cellulose by HR-MAS 13C NMR spectroscopy.

M. Ferroa, F. Castiglionea, W. Panzerib, R. Dispenzac, L. Santinic, H. J. Karlssond,      P. P. de Witd, and A. Melea,b*

a Department of Chemistry, Materials and Chemical Engineering “G. Natta”, Politecnico di Milano, Piazza L. da Vinci 3, - 20133 Milano, Italy

b CNR ICRM Istituto di Chimica del Riconoscimento Molecolare Via L. Mancinelli, 7 - 20131 Milano, Italy

cAkzo Nobel Chemicals S.p.A. , Viale Gherzi 25 28100 Novara , Italy

dAkzo Nobel Functional Chemicals bv, Westervoortsedijk 73, 6827 AV Arnhem, The Netherlands

E-mail addresses: monica.ferro@polimi.it (MF); franca.castiglione@polimi.it (FC); walter.panzeri@polimi.it (WP); Rosario.Dispenza@akzonobel.com (RD); luca.santini@akzonobel.com (LS); Jonas.Karlsson@akzonobel.com (HJK); Paul.deWit@akzonobel.com (PPdW); andrea.mele@polimi.it (AM)

Abstract

We report on the direct assessment of the degree of substitution (DS) of carboxymethyl cellulose (CMC) by High Resolution Magic Angle Spinning (HR-MAS) 13C NMR spectroscopy. The method is applied to industrial CMCs with low and high viscosity and nominal DS, purified and technical samples, and from cellulose from linters or wood. The preparation of a set of purified CMC working standards with accurate DS values for the method validation is also described. The DS values determined via HR-MAS 13C NMR on the industrial samples are critically compared to the corresponding values achieved through the ASTM D1347 method (ASH method) and the HPLC method, and the advantages and limitations of the HR-MAS NMR method highlighted. Finally, the HR-MAS NMR approach allowed the accurate DS assessment in CMC with low DS and affected by high amount of insoluble part, providing the effective DS of the active fraction of the sample.

Keywords: Carboxymethyl cellulose, 13C NMR, HR-MAS, Degree of substitution, Effective degree of substitution, SEM.

- Introduction

Carboxymethyl cellulose sodium salt (CMC) is an anionic, linear, water-soluble polymeric ether with high molecular weight easily synthesizable from cellulose and monochloroacetic acid (MCA). The overall outcome of the reaction is the replacement of OH groups of the glucopyranose units of starting cellulose with O-CH2-COO- groups. A sketch of the possible substitution patterns for each glucose unit is represented in Fig. 1. The extent and the regiochemistry of the substitution can be partially controlled, providing different types of CMCs with tailored chemical, physical, rheological and applicative properties (Wuestenberg, 2015). On industrial scale, the production of CMC is carried out exclusively by slurry processes, i.e. by reacting alkali cellulose, in turn obtained by swelling cellulose with aqueous NaOH, with MCA in the presence of a surplus of an organic solvent (e.g. ethanol or isopropanol). Cellulose feedstocks for the production of CMC are currently obtained from wood cellulose or directly from cotton linters (Barba, Montané, Rinaudo, & Farriol, 2002), although efforts of using waste lignocellulosic materials as low-cost source of cellulose are reported (see e.g. Haleem, Arshada, Shahidb, & Tahir, 2014; Yeasmin& Mondal, 2015).

Currently, CMC is the most widely used cellulose derivative, with a large number of applications: large quantities are produced in crude commercial grade for use in detergents, oil drilling mud, paper textile and paint industries while high purity grade are employed as cosmetic, food and pharmaceutical additives (Heinze & Pfeiffer, 1999; Gross & Kalra, 2002). More recent applications of CMC as a binder for next generation Li-ion batteries (Hao & Shao, 2012; de Meatza et al., 2015) or in composite functional materials (Cui, Wang, Shao, Lu, & Wang, 2011) should also be acknowledged.

One of the CMC’s main features is the ability to retain water molecules forming 3D gel structures; this property allows tuning the flow behavior of aqueous suspensions and solutions, and constitutes the most important property from a commercial point of view.

There are some important parameters affecting the physical and rheological behavior of CMC: the molecular weight, on which the viscosity of the polymeric solutions/suspension depends, the degree of substitution (DS), defined as the average number of carboxymethyl group introduced in each polymer unit (Fig.1), the distribution of carboxymethyl group and the particles size.

Fig. 1. Repetion unit in CMC polymer

The DS of commercial CMC grades is between 0.6 and 1.25. The DS, in particular, should be determined in an accurate way to provide a fingerprint descriptor of the CMC in view of the final application. From the regulatory point of view, the use of some standard methods is recommended, such as ASTM D1439 (D1439-03, 2008). The document contains two different methods referred to as A and B. Method A is based on the conversion of CMC into the acidic form followed by the reformation of CMC by addition of an excess of alkali and then the titration of the excess alkali with hydrochloric acid 0.3 M. This method is recommended for crude grade CMC with DS up to 0.85. Less precise results are declared for higher DS. However, it is remarked that no justifiable statement of the method bias can be done as no reference material is available. The ASTM D1439 Method B is based on non-aqueous solvent titration: CMC is refluxed with glacial acetic acid, the sodium acetate is then titrated with perchloric acid in dioxane. The method is applicable to the whole range of DS of purified CMC only. Another approach is based on the general USP 37 <281> chemical test on residue of ignition: CMC is heated at 600 °C for 30 min, and then the residue is suspended in sulphuric acid. The resulting Na2SO4 ashes are quantified, thus allowing the determination of DS. The main drawback of the ash method is the interference of impurities present in the CMC, thus limiting its applicability to the purified CMC only.

In the search of more general methods, a large variety of approaches for DS determination have been reported, based on different chromatographic or spectroscopic techniques: HPLC (Heinze, Erler, Nehls, Klemm, 1994; Kauper et al., 1998; Niemela & Sjöstrom, 1988,1989; Saake et al., 2001), FT-IR spectroscopy (Pushpamalar, Langford, Ahmad, Lim, 2006), Scanning Electron Microscopy (Singh, Katri, 2011), gas-liquid chromatography (Zeller, Griesgraber & Gray, 1991). The methods based on HPLC separation and quantitation are probably the most popular and used. They consist of a complete hydrolysis of CMC carried out with a strong acid (typically 2M H2SO4) at high temperature (100° C) for few hours. The obtained solution is analyzed by HPLC equipped with ion exchange column and RI detector. The elution profile generally shows four main peaks due to tri-O-carboxymethylglucose, di-O-carboxymethylglucose (mixture of regioisomers), mono-O-carboxymethylglucose (mixture of regioisomers) and unfunctionalized glucose units. From the quantitative analysis of these peaks, the average DS is calculated (Heinze, Erler, Nehls, Klemm, 1994). More recent developments account for the determination of the average DS and the substitution pattern of OH groups per glucose units (Shakun, Heinze, Radke, 2013, 2015).

The analytical methods based on NMR spectroscopy, although potentially promising, suffer from the drawbacks due to the tremendous spectral overlap generated by the mixture of regioisomers and the broad line-width of the NMR signals connected to the viscosity of CMC solutions. Some of the NMR analyses previously reported in the literature are thus based on 1H NMR and 13C NMR of depolymerized CMC after strong acids treatment (Floyd, Klosiewicz, 1980;  Gautier & Lecourtier, 1991; Gronski & Hellmann, 1997; Marie, Charpentier, Mocanu & Chapelle, 1999; Parfondry & Perlin, 1977; Reuben, Conner, 1983;Tezuka, Tsuchiya, Shiomi, 1996¸ Zeller, Griesgraber & Gray, 1991) or by partial depolymerization via microwawe irradiation (Baar, Kulicke, Szablikowski, & Kiesewetter, 1994).The approaches based on the NMR analyses of hydrolyzed CMC are generally considered inaccurate since the hydrolysis reaction is often incomplete, time-consuming, difficult to control and leading to a partial degradation of the sample. The alternative approach based on the enzymatic hydrolysis of CMC (Enebro, Momcilovic, Siika-aho, Karlsson, 2009; Horner et al, 1999; Saake et al, 2000) is considered more accurate, but suffers from the possibility of incomplete reaction and high costs.

Some non-destructive methods for DS determination based on solution 13C NMR have been previously reported (Chaudhari, Gounden, Srinivasan, & Ekkundi, 1987; Capitani, Porro, Segre, 2000). These approaches are based on the quantification of substituted carbon (C2, C3 and C6) from the integrals performed on the inverse-gated decoupling 13C spectrum. However, such route lacks of generality, as it may only be applied to low-viscosity (LV) CMC solutions, while serious problems arise when employing high viscose (HV) CMC because of the dramatic line-width increase with increasing degree of polymerization (DP) of the samples. Thus, a universal non-destructive DS method for CMC is warranted for both HV and LV CMCs

The main purpose of the this work is to propose and discuss a direct, non-destructive method based on high resolution magic angle spinning (HR-MAS) 13C NMR spectroscopy for the DS assessment of CMC samples without any chemical or physical pre-treatment. The introduction of the High Resolution Magic Angle Spinning probe for NMR instruments usually devoted to solution state NMR allowed the thorough exploration of a state of matter at the border between liquid and solids (Alam, Jenkins, 2012; Cruciani et al 2004; Violette et al 2008; Mele et al 2011) including swollen polymeric matrixes or viscous solutions. In the scenario of CMC chemistry and DS determination, HR-MAS NMR spectroscopy potentially opens the possibility of a direct measurement of DS in a broad spectrum of CMCs, including high viscosity and unpurified samples. A practical fallout is in the possibility to examine all the types of samples, including those coming from industrial production without any need for purification or any other kind of chemical manipulations. In this way, the HR-MAS NMR methodology is expected to fill the gap still existent in the repertoire of analytical methods so far available, which require either chemical hydrolysis or purified CMCs.

Herein we describe a convenient, non-destructive, easy method based on HR-MAS 13C NMR spectroscopy for the direct determination of DS in a broad collection of CMC samples. It is important to stress that, currently, no certified reference CMC of known DS is available. Thus, we prepared nine purified CMC samples under controlled conditions in order to obtain working standards with DS values with the highest possible accuracy. The experimental results are obtained from industrial samples examined as received. The experiments were carried out on batches reproducing a wide range of conditions: low and high viscosity, low and high nominal DS, purified and technical samples, CMC obtained from different sources of cellulose (linters or wood). The DS of each sample was determined by the ASTM D1347 method (ASH method) and also compared with the corresponding values obtained via an HPLC method and HR-MAS NMR. The HR-MAS NMR method proved to be selective for the soluble fraction of carboxymethylcellulose, which is the active part of the sample; in particular in CMC with low DS where there is the presence of an high amount of insoluble part. Thus the comparison with other methods for DS determination shows that HR-MAS NMR gives the DS of this active part of the sample, so the term effective DS is introduced.

- Experimental

  - Preparation of the working standards

Because of the lack of reference materials with a certified DS, 9 purified CMC samples were prepared as working standards in order to compare the HR-MAS NMR method with other methods. The samples were synthesized under strictly controlled reaction conditions in a fully automated 10 L laboratory reactor equipped with computer-controlled feedback apparatus. Cotton linters cellulose was used as cellulose source; samples were prepared with a wide range of theoretical degree of substitution (TDS) affording CMCs with an expected degree of substitution DSexpected in the  0.47-1,1 range. The meaning of TDS can be better understood by examining the reaction Scheme 1 where TDS and DS are used in the fashion of stoichiometric coefficients. The experimental data are reported in Table 1 for the 9 samples labeled from A to I.

Scheme 1. Sketch of the CMC production process.

It is possible to calculate an expected value of DS from the TDS values by applying the relationship DSexpected = TDS, where  is the response factor of the automated laboratory reactor used for the synthesis and under the laboratory set-up employed. From this standpoint, DSexpected is the best approximation to the nominal, theoretical DS. Therefore, samples A-I should be considered as the best standards currently available, for the present work, for DS calibration.

2.2 	Industrial samples

25 CMC purified industrial samples (Table 2 sample 1-25, 99.5 % purity except for samples 15-17, whose purity is <97%) and 2 not purified industrial samples (Table 2 samples 24-25) with different viscosity and DS (measured by HPLC), produced from different starting cellulose (cotton linters cellulose or wood cellulose) were supplied by Akzo Nobel Nederland, Arnhem, the Netherlands.

Viscosity was measured on a 1% CMC solution of purified CMC at 25° C by a Brookfield viscometer. In Table 2 the viscosity values are divided into three categories: low viscosity (LV), with range 10-100 mPa.s, medium viscosity (MV), with range 100-1000 mPa.s, high viscosity (HV) in the range 1000-4500 mPa.s. Higher viscosity values are obtained only from cotton linters.

Table 1.

CMC working standards synthesized on a laboratory scale. See text for the definition of DSexpected.

| SAMPLE | DSexpected |
| --- | --- |
| A | 0.47 |
| B | 0.47 |
| C | 0.57 |
| D | 0.66 |
| E | 0.75 |  |
| F | 0.84 |  |
| G | 0.93 |
| H | 1.02 |
| I | 1.10 |

Table 2

Industrial CMC samples: DSHPLC = degree of substitution via HPLC method (see text), Viscosity: LV=low viscosity (10-100 mPa.s), MV=medium viscosity (100-1000 mPa.s), HV=high viscosity (1000-4500 mPa.s), Origin: L= linters cellulose, W= wood cellulose, L/W=mixture of linters and wood cellulose.

.

| SAMPLE | DSHPLC | VISCOSITY | ORIGIN |
| --- | --- | --- | --- |
| 1 | 0.76 | LV | W |
| 2 | 0.77 | LV | W |
| 3 | 0.75 | HV | W |
| 4 | 1.21 | MV | W |
| 5 | 0.84 | HV | L |
| 6 | 0.8 | HV | L |
| 7 | 0.8 | HV | W |
| 8 | 0.76 | LV | W |
| 9 | 0.76 | LV | W |
| 10 | 0.82 | LV | W |
| 11 | 0.88 | MV | L/W |
| 12 | 0.8 | MV | W |
| 13 | 0.79 | HV | L/W |
| 14 | 1.08 | LV | W |
| 15 | 1.04 | HV | L/W |
| 16 | 1.05 | LV | W |
| 17 | 1.07 | LV | W |
| 18 | 0.33 | HV | L |
| 19 | 0.23 | HV | L |
| 20 | 0.83 | HV | L |
| 21 | 0.75 | HV | W |
| 22 | 0.88 | HV | W |
| 23 | 0.66 | HV | W |
| 24 | 0.93 | HV | W |
| 25 | 0.85 | LV | W |

  - Sample preparation and 13C HR-MAS NMR measurements

The samples for HR-MAS 13C NMR spectroscopy were prepared by dissolving CMC in D2O (99.8% isotopic purity) to obtain a viscose gel at 10 wt % concentration. The samples were then transferred into a Bruker zirconium HR-MAS rotor (4 mm diameter, 50 l). HR-MAS 13C NMR spectra were recorded on a Bruker Avance DRX500 spectrometer equipped with a 1H/13C MAS probe and a gradient aligned with the magic angle axis. Samples were spun at 4 KHz, and all experiments were performed at 330 K (57 °C). The 13C spectra were acquired at 125 MHz, in the inverse gated-decoupling mode (Freeman, Hill & Kaptein, 1972). For the inverse gated-decoupling experiment, the 1H decoupling is active during the acquisition, whereas it is switched off during the relaxation delay. The sensitivity improvement due to the 1H-13C NOE-effect is suppressed and thus, the acquired spectrum can be integrated. The following acquisition parameters were applied: sweep width 260 ppm, 8000 scan increments, 1 s acquisition time and 10 s repetition delay. FIDs were transformed with 30 Hz line broadening. On all spectra a manually phase correction and automatic baseline correction using a polynomial function (degree of polynomial = 5) were applied. All spectral data sets were processed using Bruker TOPSPIN software (v. 2.1).

  - Scanning electron microscope (SEM) analysis

The morphology of linters cellulose and two CMC from linters cellulose with different DS (samples 19 and 20) was examined by Cambridge stereoscan SEM S-360. The following parameters were used: High voltage: 10 kV, Tilt: 0.00.The powdered samples were coated with a thin layer of palladium/gold and carbon cement was used as adhesive.

- Results and discussion

  - HR-MAS 13C NMR method

Figure 2 shows the comparison of 13C NMR spectra of CMC obtained with a solution NMR probe (spectrum a) and with an HR-MAS probe (spectrum b).The spectra were acquired at the same conditions of  concentration, number of scans and acquisition parameters. It is quite evident the increase in sensitivity and in resolution obtained by using the HR-MAS probe: well resolved spectra (Figures  2b and 2c) are obtained, in which it is possible to identify C1 (107 ppm), CH2 of carboxymethyl group (77 ppm) and quaternary C of the carboxylic group (182-183 ppm) (Kono, 2016-2013, Kamide et al. 1985). The total DS was calculated from the ratio of the integral values of the quaternary carbon assigned to COO- group and that of the anomeric C1 signals (equation 1):

DS = I(COO-) / I(C1).								 (1)

These two signals are well resolved and isolated from the polymer profile (90-79 ppm). Indeed the quaternary carbon of carboxylic group is the best resolved peak for conformational reasons.

Fig. 2. (a) 13C NMR spectrum of a high viscosity, purified sample of CMC. The sample is suspended in D2O and the spectrum acquired by using the normal liquid state NMR probe, (b) HR-MAS 13C NMR spectrum of the same sample for comparison with spectrum (a) and (c) HR-MAS 13C NMR spectrum of the corresponding not purified sample of CMC (* indicates sodium glycolate signals).

  - Method validation

As mentioned before, the lack of certified CMC reference material makes a cross-check of the reliability of the direct NMR method and evaluation of the error sources difficult. For this reason, 9 CMC samples (see Table 2, samples labeled A to I) were synthesized in controlled conditions and with known TDS in order to have internal working standards useful to validate the HR-MAS NMR method (see Section 2.1). The DS of each sample was determined by the ASTM D1347 method (ASH method) and compared to the corresponding values obtained via HPLC and HR-MAS NMR. Table 3 contains the DS values of the 9 standard samples. The reported DS values were obtained with the different procedures listed in the Table. For the discussion, it is important to remind some points: i) the DS (ASH) can be regarded as the reference experimental values, according to the standard method; ii) DSexpected are the values predicted by the process engineering, on the bases of the laboratory reactor settings, reaction conditions and TDS (see previous section); iii) the critical discussion on DS (HPLC) and DS (HR-MAS) is based on the comparison with the parameters of i) and ii). Accordingly, DS (HPLC) values seem to be overestimated, especially for samples with low DSexpected (<0.75). Moreover DS (HPLC) values are in a clear violation of the mass balance, if compared with the DSexpected values. This overestimation can be explained by considering the sample preparation steps for the HPLC analysis and the calculation of DS from HPLC data. Briefly, the CMC samples first undergo H2SO4 hydrolysis. The hydrolysis protocol is expected to lead to glucose units – either carboxymethylated or unfunctionalized – as final products. DS (HPLC) is then calculated by the ratio I(carboxymethylated) / I(unfunctionalized), where the symbol I refers to the integrated intensity of the HPLC peak. Since unfunctionalized glucose degradation may occur during the hydrolysis step, the calculated DS is unrealistically raised because the term I(unfunctionalized) is lowered by the glucose degradation process. This may lead to overestimation of DS.

Also the DS (HR-MAS NMR) values are higher than those from the ASH method, and this difference seems to decrease with the increasing DSexpected up to 0.75. For larger DSexpected, much lower differences are observed. This effect can be explained by considering the type of NMR signal detected under HR-MAS conditions. Indeed, only the magnetization arising from the more mobile part of the sample, i.e. the soluble part, can be detected. Thus, the insoluble part of CMC does not give any contribution to HR-MAS 13C-NMR spectrum. Samples with low DSexpected present a high contribution of the insoluble fraction, thus determining the observed difference between the degradation method (ASH) and our non-destructive approach (HR-MAS NMR). However, and in a counterintuitive way, this is indeed an element of strength of the HR-MAS NMR determination. The insoluble CMC fraction – e.g. the less substituted cellulose fraction – is useless for the performance of carboxymethylcellulose, and it can actually be considered an industrial undesired by-product for the majority of the CMC applications. The DS assessment via HR-MAS 13C NMR spectroscopy is not biased by an inherent error of the technique, but rather it gives relevant information about the active part of the CMC. The DS determined in this way is indeed correlated to the properties of the products. For this reason we propose to introduce, for those CMC formulation characterized by low DS and by the presence of insoluble fractions, the quantity “effective DS” (EDS) as a quality marker.

Table 3.

DS values for working standards A – I  from different techniques. The definition of DSexpected is given in the Experimental Section. In parentheses the analytical method used.

| SAMPLE | DSexpected | DSa (ASH) | DSb (HPLC) | DS (HR-MAS NMR) |
| --- | --- | --- | --- | --- |
| A | 0.47 | 0.47 | 0.58 | 0.66±0.03 |
| B | 0.47 | 0.48 | 0.62 | 0.74±0.02 |
| C | 0.57 | 0.56 | 0.64 | 0.65±0.02 |
| D | 0.66 | 0.66 | 0.69 | 0.78±0.03 |
| E | 0.75 | 0.74 | 0.79 | 0.81±0.03 |
| F | 0.84 | 0.80 | 0.83 | 0.80±0.03 |
| G | 0.93 | 0.89 | 0.89 | 0.90±0.03 |
| H | 1.02 | 0.96 | 1.00 | 1.04±0.03 |
| I | 1.10 | 0.98 | 0.99 | 1.07±0.03 |

a Average precision; ±0.03

b These results are according to the classic HPLC method consisting of acid hydrolysis and HPLC determination, as in Heinze, Erler, Nehls, Klemm, 1994. Average precision; ±0.02

  - DS determination of industrial samples

A set of 25 industrial CMC samples with different DS and viscosity were analyzed by HR-MAS 13C NMR spectroscopy. Table 4 contains the results of the DS determination for samples 1 – 25. For comparison, the data obtained via HPLC (Heinze, Erler, Nehls, & Klemm, 1994; Niemela & Sjöstrom, 1988,1989; Saake et al., 2001) on the same samples are also reported. The most striking feature emerging is that the DS values obtained via HPLC are systematically smaller than the corresponding achieved by the direct HR-MAS NMR method. This point deserves attention and critical evaluation. A possible rationale for the observed trend could be as follows: the HPLC method requires a pre-treatment based on acidic hydrolysis of CMC that may, in principle, either provide incomplete hydrolysis or, on the contrary, afford degradation products due to demolition of the glucopyranose ring for uncontrolled hydrolysis The former effect leads to underestimation of DS, the latter to overestimation. Additionally, degradation products of CMC monomers have been recently reported, thus making the scenario even more complex (Douša, Gibala, Břichač, Havliček, 2012). The HPLC method is thus potentially affected by multiple sources of error. The complex balance of such effects may lead to results with uncertainty not easily assessable. Conversely, the direct HR-MAS NMR method potentially suffers from integration errors that may lead to both over- or underestimation of the actual DS.

Table 4.

DS values from different techniques

| SAMPLE | DSa (HPLC) | DSb (NMR) |
| --- | --- | --- |
| 1 | 0.76 | 0.81±0.01 |
| 2 | 0.77 | 0.80±0.01 |
| 3 | 0.75 | 0.79±0.01 |
| 4 | 1.21 | 1.28±0.01 |
| 5 | 0.84 | 0.87±0.03 |
| 6 | 0.80 | 0.87±0.02 |
| 7 | 0.80 | 0.87±0.01 |
| 8 | 0.76 | 0.84±0.01 |
| 9 | 0.76 | 0.79±0.02 |
| 10 | 0.82 | 0.92±0.01 |
| 11 | 0.88 | 0.91±0.02 |
| 12 | 0.80 | 0.84±0.03 |
| 13 | 0.79 | 0.83±0.01 |
| 14 | 1.08 | 1.17±0.02 |
| 15 | 1.04 | 1.07±0.06 |
| 16 | 1.05 | 1.08±0.03 |
| 17 | 1.07 | 1.14±0.03 |
| 18 | 0.33 | 0.53±0.02 c |
| 19 | 0.23 | 0.36±0.03 c |
| 20 | 0.83 | 0.88±0.03 |
| 21 | 0.75 | 0.78±0.01 |
| 22 | 0.88 | 0.88±0.03 |
| 23 | 0.66 | 0.77±0.04 |
| 24 | 0.93 | 1.05±0.07 |
| 25 | 0.85 | 0.94±0.05 |

a These results are according to the classic HPLC method consisting of acid hydrolysis and HPLC determination, as in Heinze, Erler, Nehls, Klemm, 1994. Estimated precision of the measurements: ±0.02.

b The uncertainty corresponds to the standard associated to the average integral (n=10) of the HR-MAS 13C NMR signal of the carbonyl.

c For DS<0.7 the listed values are interpreted as EDS (see section 3.2).

The reported values for samples 18 and 19 correspond to the EDS discussed in the previous section, and account for the presence, in the sample, of a non-negligible amount of insoluble residue, as well known for CMC with DS<0.7. In the context of DS assessment, the issue of the presence of insoluble in CMC samples is largely uncovered (and perhaps underestimated) by the literature.

For the sake of clarity, and in order to give a visual assay of the difference between a soluble and a partially soluble CMC, we have carried out morphological analysis of samples 19 and 20, as representative of poorly and fairly soluble CMCs, respectively. For comparison, also the pristine linter cellulose is reported. The scanning electron microscopy (SEM) images are reported in Figure 3. The images highlight the morphological differences of CMC with low and high DS. It is clear that in the CMC with low DS (Figure 3b), a high amount of cellulose fibrils (Figure 3a) are present and only few aggregates due to the substituted chains are visible. On the other hand, several aggregates are well visible in the CMC with higher DS (Figure 3c). This is because heterogeneous process produces an uneven distribution of substituents. Thus, CMC with high DS present larger amount of substituted region, with only minor contribution of not substituted cellulose chains. On the contrary, CMC with low DS retain a high quantity of not substituted region.

Fig.3. SEM images of linters cellulose (a), CMC with DS=0.23 (b, sample 19) and CMC with DS=0.83(c, sample 20).

The structure of CMC is related to its solubility in water. CMCs with DS higher than 0.6 have a number of carboxymethyl groups, which are hydrophilic, large enough to allow the solubilization of CMC in water, providing a viscous, transparent gel (Fig. 4a). Conversely, CMCs with DS lower than 0.6 have a high amount of nonsubstituted fibrils, which do not permit the complete solubilization in water, obtaining a grainy and matt gel (Figure 4b).

Fig.4. CMC with DS=0.83 (a) and CMC with DS=0.23(b) after treatment with water.

The DS values of samples 18 and 19 obtained by HR-MAS NMR are actually related to the DS of the “active part” of the sample without considering the insoluble part of the sample, thus providing relevant information from the industrial and applicative point of view.

As a final remark, it is worth noting that the HR-MAS 13C NMR method is applicable to both purified and non-purified CMC containing salts. It should be stressed that the ASTM method mentioned in the introduction can only be applied to purified samples. Other reported methods using different analytical, non-destructive approach, as IR (Pushpamalar, Langford, Ahmad, Lim, 2006), or SEM (Singh, Katri, 2011), require only purified CMCs for the analyses. Technical CMC contains sodium chloride and sodium glycolate whose signals can be easily distinguished in 13C spectra from CMC signals (Fig.2c). In particular, the carbonyl signal of sodium glycolate at 184 ppm does not overlap the carbonyl signal of CMC used for DS calculation.

Conclusion

HR-MAS 13C NMR spectroscopy proved to be an innovative, non-destructive, direct and unbiased method to measure DS of CMC samples. The use of working standards prepared on purpose under controlled conditions allowed us to compare different methods and to validate the HR-MAS NMR method. The major strength of the HR-MAS 13C NMR  approach relies upon the possibility to examine samples of high and low viscosity, high and low DS, purified or not purified. This versatility fills the gap currently existing for the DS determination of not purified CMC samples. Additionally, the method here proposed allows for the separation of the contribution of the insoluble fraction present at low DS values. In such cases, the capability of HR-MAS NMR spectroscopy to detect selectively the response of the dissolved analytes can be exploited to measure the effective DS (EDS) of the water soluble fraction, which is the one carrying the added value. This may propose, in principle, this parameter as a quality descriptor for industrial applications.

Acknowledgements

MF acknowledges a research scholarship within the PhD Programme in Industrial Chemistry and Chemical Engineering at Politecnico di Milano

References

Alam, T. M., Jenkins, J. E. (2012) HR-MAS NMR Spectroscopy in Material Science. cdn.intechopen.com, Chapter10, 279-306.

ASTM International, D1439-03 (Reapproved 2008) Standard test methods for sodium carboxymethylcellulose., West Conshohocken, PA, U.S.A., doi: 10.1520/D1439-03R08E01

Baar, A., Kulicke, W.-M., Szablikowski, K., & Kiesewetter, R. (1994) Nuclear magnetic resonance spectroscopic characterization of carboxymethylcellulose. Macromol. Chem. Phys. 195, 1483-1492.

Barba, C., Montané, D., Rinaudo, M., Farriol, X. (2002). Synthesis and characterization of carboxymethylcellulose (CMC) from non-wood fibers I. Accessibility of cellulose fibers and CMC synthesis. Cellulose, 9, 319-326.

Capitani, D., Porro, F., Segre, A.L. (2000). High field NMR analysis of the degree of substitution in carboxymethyl cellulose sodium salt. Carbohydrate Polymers, 42, 283-286.

Chaudhari, S. N. K., Gounden, K. C., Srinivasan, G., & Ekkundi,V. S. (1987). High resolution 13C-NMR spectroscopy of sodium carboxy methyl cellulose. Journal of Polymer Science A, Polymer Chemistry, 25, 337–342.

Cruciani, O., Mannina, L., Sobolev, A.P., Segre, A., Luisi, P. (2004) Multilamellar liposomes formed from phosphatidyl nucleosides: an NMR-HR MAS characterization. Langmuir 20, 1144–1151

Cui, M., Wang, F-J., Shao, Z-Q., Lu, F-S., Wang, W-J., (2011) Influence of DS of CMC on morphology and performance of magnetic microcapsules. Cellulose, 18, 1265-1271.

Douša, M., Gibala, P., Břichač, J., Havliček, J. (2012) The formation of furfural compounds in selected saccharide and polysaccharide-based pharmaceutical excipients. Journal of Pharmaceutical Sciences, 101,1811-1820.

Enebro, J., Momcilovic, D., Siika-aho, M., & Karlsson, S. (2009). Liquid chromatograph combined with mass spectrometry for the investigation of endoglucanaseselectivity on carboxymethyl cellulose. Carbohydrate Research, 344, 2173–2181.

Floyd, F.-L. Ho, Klosiewicz, D.W. (1980). Proton nuclear magnetic resonance spectrometry for determination of substituents and their distribution in carboxymethylcellulose. Analytical Chemistry, 52, 913-916.

Freeman, R., Hill, H. D. W., & Kaptein, R. (1972). Inverse gated 1H decoupling technique. Journal of Magnetic Resonance, 7, 327-329.

Gautier, S., & Lecourtier, J. (1991). Structural characterization by 13C nuclear magnetic resonance of hydrolysed carboxymethylcellulose. Polymer Bullettin, 26, 457-464

Gronski, W., & Hellmann, G.. (1997). NMR spektroskopische charakterisierung von carboxymethylcellulose. Papier, 41, 668-672

Gross, A. R., & Kalra, B. (2002). Biodegradable polymers for the environment. Science, 297, 803-807

Haleem, N., Arshada, M., Shahidb, M., Tahir, M. A., Synthesis of carboxymethyl cellulose from waste of cotton ginningindustry. Carbohydrate Polymers, 113, 249–255

Hao, H., & Shao, Z. (2012). The electrochemical performance of carboxymethyl cellulose with different DS as a binding material in lithium batteries. Advanced Materials Research, 499, 114-119.

Heinze, T., Erler, U., Nehls, I., Klemm, D. (1994). Determination of the substituent pattern of heterogeneously and homogeneously synthesized carboxymethyl cellulose by using high-performance liquid chromatography.  Die Angewandte Makromolekulare Chemie, 215, 93-106.

Heinze, T., Pfeiffer, K. (1999). Studies on the synthesis and characterization of carboxymethylcellulose. Die Angewandte Makromolekulare Chemie, 266, 37-45.

Horner, S., Puls, J., Saake, B., Klohr, E.-A., & Thielking, H. (1999). Enzyme-aided characterization of carboxymethylcellulose. Carbohydrate Polymers, 40, 1–7.

Kamide, K., Okajima, K., Kowsaka, K., Matsui, T., Nomura, S., & Hikichi, K. (1985). Effect of the distribution of substitution of the sodium salt carboxymethylcellulose on its absorbency toward aqueous liquid. Polymer Journal, 17, 909-918.

Kauper, P., Kulicke, W. M., Horner, S., Saake, B., Puls, J., Kunze, J., Fink, H. P., Heinze, U., Heinze, T., Klohr, E. A., Thielking H., Koch W. (1998). Development and evaluation of methods for determining the pattern of functionalization in sodium carboxymethylcelluloses. Die Angewandte Makromolekulare Chemie, 260, 53-63.

Kono, H., Kazuhiro, O., Hashimoto, H., Shimizu, Y., Tajima, K. (2016) NMR characterization of sodium carboxymethyl cellulose: Substituent distribution and mole fraction of monomers in the polymer chains. Carbohydrate Polymers, 146, 1-9.

Kono, H., Hikaru, A., Hashimoto, H., Shimizu, Y. (2015) 13C-dectected two dimensional NMR approaches for cellulose derivatives. Cellulose, 22, 2927-2942.

Kono, H. (2013). 1H and 13C chemical shift assignment of the monomers that comprise carboxymethylcellulose. Carbohydrate Polymers, 97, 384-390.

De Meatza, I. et al. (2015). GREENLION Project: Advanced manufacturing processes for low cost greener Li-ion batteries. In Briec, E., & Müller, B. (Eds.), Electric vehicle batteries: moving from research towards innovation (pp. 45–60). Heidelberg.

Mele, A., Castiglione, F., Malpezzi, L., Ganazzoli, F., Raffaini, G., Trotta, F., Rossi, B., Fontana, A., Giunchi, G. (2011) HR MAS NMR, powder XRD and Raman spectroscopy study of inclusion phenomena in CD nanosponges. Journal of Inclusion Phenomena and Macrocyclic Chemistry, 69, 403–409

Merle, L., Charpentier, D., Mocanu, G., & Chapelle, S.(1999). Comparison of the distribution pattern of associative carboxymethylcellulse derivatives. European Polymer Journal, 35, 1-7.

Niemela, K., & Sjöstrom, E. (1988). Identification of the products of hydrolysis of carboxymethylcellulose. Carbohydrate Research, 180, 43-52.

Niemela, K., & Sjöstrom, E. (1989).Characterization of hardwood-derived carboxymethylcellulose by gas-liquid chromatography and mass spectrometry. Polymer Communications, 30, 254-256.

Parfondry, A., Perlin, A. S. (1977). 13C-NMR spectroscopy of cellulose ethers. Carbohydrate Research, 57, 39-49.

Pushpamalar, V., Langford, S.J., Ahmad, M., Lim, Y.Y. (2006). Optimization of reaction conditions for preparing carboxymethylcellulose from sago waste. Carbohydrate Polymers, 64, 312-318.

Reuben, J., Conner, H. T. (1983). Analysis of the carbon-13C NMR spectrum of hydrolyzed O-(carboxymethyl)cellulose: monomer composition and substitution patterns. Carbohydrate Research, 115, 1-13.

Saake, B., Horner, S., Kruse, T., Puls, J., Liebert, T., & Heinze, T. (2000). Detailed investigation on the molecular structure of carboxymethyl cellulose with unusual substitution pattern by means of an enzyme-supported analysis. Macromolecular Chemistry and Physics, 201, 1996–2002.

Saake, B., Horner, S., Puls, J., Heinze, T., & Koch, W. (2001). A new approach in the analysis of the substituent distribution of carboxymethylcelluloses. Cellulose, 8, 59-67.

Shakun, M., Heinze, & T., Radke, W. (2013) Determination of the DS distribution on non-degraded sodium carboxymethylcellulose by gradient chromathography. Carbohydrate Polymers, 98, 943-950.

Shakun, M., Heinze, & T., Radke, W. (2015) Characterization of sodium carboxymethyl cellulose by comprehensive two-dimensional liquid chromatography. Carbohydrate Polymers, 130, 77-86.

Singh, R.K., & Khatri, O.P. (2011) A scanning electron microscope based new method for determining degree of substitution of sodium carboxymethylcellulose. Microscopy, 246, 43-52.

Tezuka, Y., Tsuchiya, & Shiomi, T. (1996). 13C NMR determination of substituent distribution in carboxymethylcellulose by use of its peresterified derivatives. Carbohydrate research, 291, 99-108.

Violette, A., Lancelot, N., Poschalko, A., Piotto, M., Briand, J.-P., Raya, J., Bianco, A., & Guichard, G. (2008)  Exploring helical folding of oligoureas during chain elongation by high-resolution magic-angle-spinning (HRMAS) NMR spectroscopy. Chemistry. A European Journal, 14, 3874–3882.

Wuestenberg, T. Cellulose and cellulose derivative in the food industry, Wiley, 2015.

Yeasmin, M. S., & Mondal, M. I. H. (2015) Synthesis of highly substituted carboxymethyl cellulose depending on cellulose particle size. International Journal of Biological Macromolecules, 80, 725–731.

Zeller, S. G., Griesgraber, G. W., & Gray, G. R. (1991). Analysis of positions of substitution of carboxymethyl groups in partially O-carboxymethylated cellulose by the reductive cleavage method. Carbohydrate Research, 211, 41-45.