Electro-osmotic dewatering of anaerobically and aerobically stabilised sludge

P. Gronchia, A. Da Fornoa
, S. Visigallib, R. Canzianib
a Department of Chemistry, Materials and Chemical Engineering, Politecnico di Milano, Piazza Leonardo da Vinci, 32 – I 20133 Milano, Italy; paolo.gronchi@polimi.it
b Department of Civil and Environmental Engineering, Politecnico di Milano, Piazza Leonardo da Vinci, 32 – I 20133 Milano, Italy; roberto.canziani@polimi.it; simone.visigalli@polimi.it 
Corresponding author: Roberto Canziani, tel.: +39 02 23996410, fax: +39 02 23996499; skype: r.canziani; e-mail: roberto.canziani@polimi.it; mobile: +39 348 3146946

Abbreviations


Abstract: Dewaterability of sludge produced by Wastewater Treatment Plants (WWTPs) is often poor, reaching less than 25% dry solids (DS). Electro-dewatering could be a suitable technique to reduce water content of the sludge by up to 20%. We investigated the parameters affecting pressure-driven electro-dewatering of anaerobically and aerobically stabilised, mechanically dewatered, sludge samples. The applied electrical fields have been set at 10, 15 and 20 V/cm in order to evaluate total energy consumption and final DS.
Keywords: Electro-osmosis; electro-dewatering; sewage sludge; electric field
This work has received funding from the Project SLUDGEtreat, co-funded by the European Commission within the FP7 (2007–2013) Marie Curie Actions— Industry-Academia Partnerships and Pathways - IAPP, GA n. 611593. 

1. Introduction

About half of the organic pollution load treated by the activated sludge process is oxidised and converted into water and carbon dioxide, while the remaining is converted into biomass, called “excess biological sludge” or “waste sludge”. At present, this technique is the cheapest way to remove colloidal and soluble organic pollutants from sewage, but it produces a huge amount of liquid waste sludge, with a dry solid (DS) content of less than 2%, rich in organic substances, mostly biodegradable. Therefore, it needs further processes to reduce (i) its volume, by decreasing its water content, and (ii) its polluting potential, due to its high content of biodegradable organic matter. Mechanical dewatering of sludge produced by Wastewater Treatment Plants (WWTPs) hardly gets more than 25% DS content. 

Seeking new and efficient methods for dewatering, many authors (Yoshida, 1993; Barton et al., 1999; Gingerich et al., 1999) exploited electro-osmosis in order to improve water removal from sludge. The application of an electric field, sometimes in combination with pressure, seems capable to increase the DS content in sludge up to 45% (Mahmoud et al., 2010), well beyond the values achievable by mechanical means. 
Among electrokinetic phenomena, electro-osmosis rules this process and leads to a transport of water molecules to the negative electrode (cathode), increasing the dry matter significantly and lowering the energy consumption with respect to conventional techniques, such as thermal drying.

Many experimental factors can influence the reduction of water content and, consequently, the process yield. The main critical processing factors of electro-dewatering are (i) the properties of the sludge, in terms of volatile to total solids ratio, particles size distribution, zeta potential; (ii) process parameters, such as applied voltage (or current), temperature, pressure, time; (iii) chemical conditioning. 
Although electro-mechanical dewatering processes are not fully understood yet, many authors think that water is removed from sludge according to the following steps (Barton et al., 1999; Mahmoud et al., 2010; Mok, 2006): 

· Applied pressure reduces the volume of the pores and squeezes the water out.

· The charged particles (usually negative colloids) are still free to move in the fluid suspension. They tend to migrate towards the electrode carrying the opposite charge (usually the anode).

· When the cake has formed, the particles are locked in their position and hence unable to move. Water is transported through the porous medium by electro-osmosis towards the cathode.

· Electrochemical reactions at the electrodes are essential to restore charge equilibrium.

· Finally, water ceases to be the continuous phase in the cake, and the electrical resistance rises, leading to ohmic heating; we should keep this effect at the lowest possible level, as it would lead to higher energy consumption, with very little increase in final DS content.

Studies about electro-dewatering reported final DS of up to 45%, much higher than 20-30% obtained by mechanical methods. As a side effect, electro-migration may reduce the concentration of heavy metals in the sludge, as they tend to migrate towards the cathode, where water is collected. This effect may improve sludge quality for its use in agriculture. 
Here, we investigated the parameters affecting pressure-driven electro-dewatering, by means of a lab-scale device, starting from different types of sludge, all mechanically dewatered. We focused on cake thickness, electric field and pressure values to achieve the best results in terms of solids percentage at the minimum energy consumption. The research programme aims at designing a prototype for full-scale application.
2. Material and Methods

2.1 Sludge samples

Two different sludge samples were selected for electro-dewatering tests: an anaerobically digested sludge, dewatered by centrifuge, and an aerobically digested sludge, dewatered by filter press.

Prior to use, sludge samples were stored at 4°C up to a maximum of 1 week in order to keep their properties constant. The electrical conductivity was measured by a conductivity meter (B&C Electronics-C 125.2) and pH by a pH-meter Metrohm 827 pH Lab. DS and VS were measured according to Standard Methods (APHA et al., 2012).
The main characteristics of sludge samples are listed in Table 1.

	Sludge
	Mech. dewatering
	DS [%]
	VS/DS [%]
	pH
	Conductivity [µS/cm]

	A
	Centrifuge
	27.2
	59.7
	7.0
	  681.0

	B
	Filter press
	26.8
	69.1
	7.3
	1154.0


Table 1-Characteristics of sludge samples used for electro-dewatering tests. Sludge A: anaerobically stabilised; Sludge B: aerobically stabilised.

2.2 Lab-scale device

[image: image1.jpg]Double effect .
i Compressed air
cylinder

Electrical wire \ e system
(1-4.5 bar)

DC power supply
(max30V-54) —

Cylindrical glass vessel + PTT filter cloth
Cooling water jacket Mesh stainless steel

cathode
Teflon support

Mesh DSA
Ti(MMO)

Sludge
(10-30 mm)

Teflon
support

Graduated
cylinder



Experiments have been performed by means of a lab-scale device able to produce both a mechanical pressure and an electric field (Figure 1). The cylindrical glass vessel is 176 mm high, with a diameter of 80 mm. The SMC-CP96 double effect cylinder has a piston with a 200 mm stroke. The cathode is covered with a polytrimethyleneterephthalate (PTT) cloth.

Figure 1 - Schematics of the lab-scale electro-dewatering device.
The upper electrode is a dimensionally stable anode DSA® (manufactured by Industrie De Nora, Milan, Italy) made of titanium coated with mixed metal oxide (Ti MMO) and is attached to the piston, while the cathode is made of stainless steel mesh (AISI 304) and is covered by the PTT filter medium.

The cathode and the anode are connected to the negative and the positive pole of the direct current (DC) power supply (GBC bench scale generator, maximum 30V / 5A). Then, the piston is connected to the laboratory pressurised air system, equipped with manometer and valve to set pressure values.

Discharged water is collected in a graduated cylinder put on a precision scale balance. The weight of the collected liquid is recorded at regular intervals in order to calculate the sludge dewatering rate. In order to control temperature during the dewatering tests, a thermocouple (Data logger thermometer OMEGA-HH306A) is inserted into the glass cell.

2.3 Electro-osmosis tests

The electro-dewatering procedure consists of two successive stages (Citeau et al., 2012): 

· filtration/compression by applying pressure;

· application of an electric field at the selected operating voltage, keeping the applied pressure constant.

Initially, the glass cell is filled with the sludge sample: 1-cm thick cake corresponds to 35 g of wet sludge. Then, the cell is closed with the cover and the piston starts applying pressure (300 kPa) on the sludge. Sludge is pressed between the upper anode (on a support made of polytetrafluoroethylene, PTFE) and the lower PTT filter cloth (placed on the cathode mesh). During the initial 5 minutes, no water is extracted, as the sludge has been already mechanically dewatered. Then the electric field is switched on and the potential applied is 10 or 15 or 20 V. Values of currents vs time are recorded. At the same time, recording of extracted water weight and temperature of the cell takes place at a pace of one per minute. Trends of current densities have been recorded, but are not reported here.

3. Results and Discussion
3.1 Anaerobically digested sludge

Samples of anaerobically digested sludge, dewatered by a centrifuge, with an initial dry solid content DSi = 27.2%, 35 g each, 1-cm thick, were treated under constant electric field (10 V/cm, or 15 V/cm or 20 V/cm). Total energy consumptions and the dry solid content at the end of the test (DSf) are presented in Table 2.

Table 2 - Electro-dewatering: results obtained on sludge A (DSi = 27.2%, VS/TS = 59.7%).
	Sample N°
	tP + tE
(min)
	Electric energy consumption during tE
(Wh)
	Specific electric energy consumption during tE
(Wh/kgH2O)
	DSf

(%)
	ΔDS

(%)

	P=300 kPa; E=10 V/cm

	A-1
	5+25
	1.505
	161.2
	37.1
	9.9

	A-2
	5+25
	1.581
	175.9
	36.6
	9.4

	A-3
	5+25
	1.747
	149.1
	40.9
	13.7

	P=300 kPa; E=15 V/cm

	A-4
	5+20
	3.243
	337.4
	37.5
	10.3

	A-5
	5+20
	2.728
	287.8
	37.3
	10.1

	A-6
	5+20
	2.842
	205.3
	45.0
	17.8

	P=300 kPa; E=20 V/cm

	A-7
	5+15
	4.044
	296.1
	44.6
	17.4

	A-8
	5+15
	3.832
	313.5
	41.8
	14.6

	A-9
	5+15
	3.964
	315.9
	42.4
	15.2


On average, DSf increased of 11.0% at 10 V/cm, 12.7% at 15 V/cm and 15.7% at 20 V/cm. Specific energy consumption values increase with the potential applied, due to the stronger currents that are developed, as we can see in Figure 2a. Tests have been stopped automatically after 30, 25 and 20 minutes at 10, 15 and 20 V respectively, in order to decrease processing times at increasing electric fields applied. Kinetics of the process, indeed, are higher at higher potential values (Olivier et al., 2015), as dewatering starts earlier (Figure 2b).
[image: image2.png]700
H M P=300 kPa - E=10 V/cm
‘é. 600  P=300 kPa - E=15 V/cm
3 4 P=300 kPa - E=20 V/cm
c 500
8
& l’2;400
o
c X *

A |

; .é 300 .\\\\ k
£ —
2 S
T —
o .- .

100
o
Q.
wv o

8 9 10 11 12 13 14 15 16 17 18 19 20
2DS [%]



[image: image3.png]T

Specific electric energy consumption

[Wh/kgh,0]
8 8§ 8 8§ §8 8

]

W P=300 kPa - E=10 V/cm

# P=300 kPa - E=15 V/cm

[ — A P=300 kPa - E=20 V/cm
—_
AN
.
=g

10

11

12

13

14
ADS [%]

15 16 17 18 19

20




Figure 2 - Current density vs time diagram (a, left) and water mass vs time diagram (b, right) of tests A-3 (10 V/cm), A-6 (15 V/cm) and A-9 (20 V/cm). Crosses mark when the first drop of water is collected.
Electrical field values lower than 30 V/cm and a cooling system (water jacket) have allowed to keep temperature below 30°C in the cell. 

These preliminary results show the effectiveness of electro-osmosis in dewatering anaerobically digested sludge, as it allowed to increase DS of mechanically dewatered sludge in the range 11-16%. Table 2 shows an increase in DS values with stronger electric field, but this is obtained at the expense of a higher energy consumption. The application of values of electric field higher than 10 V/cm, allows increases in the DSf content at the expense of high energy consumption. 
3.2 Aerobically digested sludge

A second series of tests have been carried out on aerobically digested and filter-pressed sludge (sludge B) at DSi = 26.8%, comparable to the value of sample A. By applying the same voltages and keeping constant the values of pressure and cake thickness, the results obtained with sludge B are shown in Table 3.

Table 3 - Electro-dewatering: results obtained on sludge B (DSi = 26.8%, VS/TS = 69.1%; (DS = DSf - DSi).
	Sample N°
	tP + tE
(min)
	Electric energy consumption during tE
(Wh)
	Specific electric energy consumption during tE
(Wh/kgH2O)
	DSf

(%)
	ΔDS

(%)

	P=300 kPa; E=10 V/cm

	B-1
	5+47
	2.588
	312.8
	35.1
	8.3

	B-2
	5+45
	2.720
	267.1
	37.8
	11.0

	B-3
	5+42
	2.708
	315.7
	35.5
	8.7

	P=300 kPa; E=15 V/cm

	B-4
	5+25
	3.517
	364.6
	37.0
	10.2

	B-5
	5+30
	3.905
	378.6
	38.0
	11.2

	B-6
	5+30
	3.890
	434.9
	36.0
	9.2

	P=300 kPa; E=20 V/cm

	B-7
	5+30
	5.721
	597.3
	36.9
	10.1

	B-8
	5+21
	5.550
	501.3
	39.2
	12.4

	B-9
	5+30
	6.081
	466.6
	42.7
	15.9


On average, DSf increased 9.3%, 10.2% and 12.8% at 10 V/cm, 15 V/cm and 20 V/cm, respectively. Even though the initial DS of sample A and B are similar, electro-dewatering looks less effective on aerobically stabilised sludge. It must be highlighted that, in this case, the end of the tests have not been established a priori, but electric fields are switched off when only two drops of filtrate are collected in five minutes. In spite of the longer processing times, DSf was always lower than the corresponding values obtained with anaerobically digested sludge. This fact could be ascribed to the different fraction of organic matter (expressed in term of volatile solids, VS) of the two samples, and to the different stabilization process.

Long times of electric potential application caused higher energy consumption values if compared to tests on sludge A that have been carried out under very similar experimental conditions for both samples, as well as voltage and measured currents, as shown in Figure 3a. Comparing Figure 2a and Figure 3a, the main difference is the presence of a peak of electric current densities for tests with aerobically digested sludge B. Indeed, sometimes it is possible to separate the electro-osmosis process in two main distinct steps: Step I, where current density varies unevenly to reach a maximum due to electrode reactions and diffusion of charged species through the sludge cake, and Step II, where the current density decreases monotonically over time (Olivier et al., 2015). Moreover, a higher electric field (Test B-9) leads to a shorter “Step I” and a higher peak.
Figure 3

 REF _Ref445300486 \h 
 \* MERGEFORMAT b underlines the increasing dewatering rates at 10, 15 and 20 V/cm: the same water amount is collected in shorter time at higher applied electrical field values.
[image: image4.png]n e 9
s o 9 o g9 o
8 8 8 ®& 8’ =2

© [wd/vw] Alisusp juaiin)

15 20 25 30
Time [min]

10



[image: image5.png]o
o

Water mass [g]
o B N W b~ U1 O N 00 O

—A-3
—A-6
—A-9

8

10

12 14 16 18
Time [min]

T
20 22 24 26 28 30




Figure 3 - Current density vs time diagram (a, left) and water mass vs time diagram (b, right) of tests B-2 (10 V/cm), B-5 (15 V/cm) and B-9 (20 V/cm). Crosses on diagram (a) mark the time when the first drop of water is collected.
As in the previous case, an electric field of 10 V/cm seems to be the best choice to obtain a good DS increase not exceeding in specific energy consumption.

3.2 Considerations on energy consumption

Table 2 and 3 show increasing DS values at increasing electric potential, but with higher energy consumption. The results shown before highlighted the effectiveness of electro-dewatering in water removal from sludge. However, the initial conditions of the sludge samples play a fundamental role in the achievement of the highest dewatering efficiency. In particular a high DSi value (DSi>25%) means that free water, which has been mostly removed by mechanical dewatering, is present in a much lower amount than intracellular and bound water, which needs a great energy consumption for its removal from sludge. This fact is evident in the first 5 minutes of each test, when a pressure of 300 kPa is applied and no water is collected. Therefore, only by the application of the electric field we can discharge interstitial and surface water from sludge.

[image: image6.png]—B-2
—B-5
—B-9

© N O W T MmN O

[8] ssew 1918\

15 20 25 30 35 40 45 50 55 60
Time [min]

10



[image: image7.png]—B-2
——B-5
—B-9

2

Q =] o o o
» < & ~ i

© [zwo/yw] Auisuap 3ualin)

50

45

40

35

30

25

20

15

10

Time [min]




Figure 4 - Diagrams of specific electric energy consumption vs ΔDS of electro-osmotic dewatering tests with anaerobically digested sludge A (a) and aerobically digested sludge B (b).

Figure 4 shows the diagrams of specific electric energy consumption vs ΔDS (i.e.: increase of dry solid content in the sludge), for anaerobically (Figure 4a) and aerobically (Figure 4b) digested sludge samples. Table 2 and Table 3 show a high dispersion of the results obtained at the same electric field value, with the same initial conditions. Obviously, the specific energy consumption increases with increasing electric field, at equal ΔDS. 

However, we can observe better results for anaerobically digested sludge (sludge A) than for aerobically stabilised sludge (sludge B). This seems to be related to the lower fraction of volatile solids of the anaerobically digested sludge. A higher volatile solids fraction means that the sludge is rich in organic compounds, which contain a high amount of bound water, which, in turn, requires a great energy expenditure to be drained away. The comparison of energy consumption of the two sludge samples (see Figure 4a and 4b) highlights this difference.

The effect of lower volatile solids fraction in reducing the performance of mechanical dewatering has been observed in two surveys, covering more than 120 WWTP in Italy (Cristoforetti, 2016; Canziani et al., 2015). Aerobic stabilisation is more common in medium and small WWTPs, where costly equipment such as filter presses are less commonly applied. Therefore, electro-dewatering may find its best application in such plants, improving DSf matter up to values of 40%. This value is compatible with direct incineration and can save energy in case it has to be previously dried. In fact, sludge B at 10 V/cm shows an average specific energy consumption around 300 Wh/kgH2O, and, taking into account the national electrical energy efficiency equal to 0.47 (Caputo et al., 2015), the total equivalent thermal energy consumption is 640 Wh/kgH2O, much lower than the energy for thermal drying (900-1200 Wh/kg; Olivier et al., 2014). Electro-dewatering seems to be energetically feasible, even for sludge that commonly encounters difficulties in dewatering. 

According to Olivier et al. (2015), during sewage sludge electro-dewatering with constant applied voltage, the instantaneous specific energy consumption required to remove a given amount of filtrate is strongly correlated to the cake dryness at that time. This fact implies that electro-dewatering of sludge with a very high DSi content would not be economically viable.  
4. Conclusions

In this work, pressure driven electro-osmotic dewatering has been carried out using a lab-scale device with the aim to establish the feasibility of this process and determine the dewatering efficiency in terms of DSf and energy consumption. Two samples of sludge, one anaerobically digested and one aerobically stabilised, both mechanically dehydrated, have been used, in order to investigate the amount of extracted water by the application of an electric field. The main parameters that control electro-osmosis process were sludge cake thickness, potential value, initial DS and sludge conductivity. The experiments have been performed by measuring the current densities developed during the tests, the temperature at the anode inside the cell, DSf of the sludge cake and computing the energy consumption. 

By using the lab-scale device, we set electric fields values at 10 V/cm, 15 V/cm and 20 V/cm with a pressure of 300 kPa. The main results are the following:

· DS reached final values (DSf) in a range between 36% and 45%.

· Dewatering improves at increasing applied potential. 

· Electro-dewatering of anaerobically digested sludge is more efficient than aerobically stabilised sludge.

· Tests at 10 V/cm have shown the best compromise between DSf and energy consumption.

· Electro-dewatering is energetically convenient if compared to thermal drying.

· Electro-dewatering may have a great potential for practical applications in most cases. For example, if sludge is disposed of at 40% dry matter instead of 25%, the total mass to be disposed (and the inherent costs) will be reduced by a factor of 1.6 and the lower disposal costs widely compensate the cost of energy for the electro-osmotic dewatering. Furthermore, if sludge is incinerated, electro-dewatered sludge at 40% DS can self-sustain combustion at 850 °C, avoiding a thermal drying step.

Acknowledgements

The authors wish to thank Cap Holding Group and Metropolitana Milanese Spa for supplying sludge samples and Industrie De Nora Spa for providing DSA electrode. This work has received funding from the Project SLUDGEtreat, co-funded by the European Commission within the FP7 (2007–2013) Marie Curie Actions— Industry-Academia Partnerships and Pathways - IAPP, GA n. 611593). 

References
APHA, AWWA, WEF, 2012. Standard Methods for the Examination of Water and Wastewater 22nd edition, Rice EW, Baird RB, Eaton AD, Clesceri LS, editors.

Barton, W.A., Miller, S.A., Veal, CJ., 1999. The electrodewatering of sewage sludges, Drying Technology 17, 497-522.

Canziani, R., Ferrari, G., Diaz, C., Garcia Fuentes, G., 2015. Preliminary market analysis – review. Requirements definition and lab-scale studies. FP7-PEOPLE-2013-IAPP, Deliverable 2.2.

Caputo, A., Sarti, C., 2015. Fattori di emissione atmosferica di CO2 e sviluppo delle fonti rinnovabili nel settore elettrico. Rapporto ISPRA 212/2015. http://www.isprambiente.gov.it/it/pubblicazioni/rapporti?b_start:int=20 (visited on May 27th)

Citeau, M., Citeau, J., Olivier, A., Mahmoud, J., Vaxelaire, O., Larue, E., 2012. Pressurised electro-osmotic dewatering of activated and anaerobically digested sludges: Electrical variables analysis, Water Research  46, 4405-4416.   

Cristoforetti, C., 2016. Personal communication: data from 21 plants in the metropolitan area of Milan, CAP Holding Group, Milan, Italy.

Gingerich, I., Neufeld, R.D., Thomas, T.A., 1999.  Electroosmotically enhanced sludge pressure filtration, Water Environment Research  71, 267-276.

Mahmoud, A., Olivier, J., Hoadley, A.F.A., 2010. Electrical field: A historical review of its application and contributions in wastewater sludge dewatering, Water Research 44, 2381-2407.

Mok, C., 2006. Design and modelling of electroosmotic dewatering. MSc Thesis,       University of Newcastle upon Tyne
https://theses.ncl.ac.uk/dspace/handle/10443/746 (visited on May 27th, 2016).          

Olivier, J., Conrardy, J.B., Mahmoud, A., Vaxelaire, J., 2015 Electro-dewatering of wastewater sludge: an investigation of the relationship between filtrate flow rate and electric current, Water Research 82, 66-77.

Olivier, J., Mahmoud, A., Vaxelaire, J., Conrardy, J.B., Citeau, M., Vorobiev, E., 2014 Electro-dewatering of anaerobically digested and activated sludges: an energy aspect analysis, Drying technology 32, 1091-1103. 

Yoshida, H., 1993. Practical aspects of dewatering enhanced by electro-osmosis, Drying Technology 11, 787-814.
� Dr Anna Da Forno deceased on November 11, 2015





� Abbreviations:


DC = direct current;


DS = dry solids; DSi = dry solids at beginning of the test; DSf = dry solids at the end of the test; 


DSA® = Dimensionally Stable Anode, a registered trade mark of Industrie De Nora Milan;


E: electric field (V/cm); 


P: pressure (kPa); 


PTFE = polytetrafluoroethylene; 


PTT = poly(trymethylene terephtalate); 


tP = duration of pressure application (min);


tE = duration of electric field application (min);


Ti(MMO) = titanium coated with mixed metal oxides;


VS = volatile solids; VS/DS = organic fraction of DS;


WWTPs = wastewater treatment plants.








4
10

