PAGE  
14

Improvement in Echocardiographic Evaluation of Left Ventricular Wall Motion Using Still-Frame Parametric Imaging

Enrico G. Caiani PhD1,2, Roberto M. Lang MD1, Claudia E. Korcarz DVM1, Jeanne M. DeCara MD1, Lynn Weinert BS1, Keith A. Collins MS1, Kirk T. Spencer MD1, Victor Mor-Avi PhD1
Brief title: Parametric Imaging of LV Wall Motion
1 Noninvasive Cardiac Imaging Laboratory, University of Chicago, Chicago, Illinois

2 Dipartimento di Bioingegneria, Politecnico di Milano, Milano, Italia

Address for correspondence: 

Victor Mor-Avi, PhD
University of Chicago Medical Center, MC5084,
5841 S. Maryland Ave., Chicago Illinois 60637. 

Tel: (773)-702-1842, Fax: (773)-702-1034; E-mail: vmoravi@medicine.bsd.uchicago.edu

Abstract
Background. Conventional echocardiographic assessment of left ventricular wall motion is based on visual interpretation of dynamic images, which depends on readers' experience. We tested the feasibility of evaluating endocardial motion using still-frame parametric images. Methods and Results. In protocol 1, integrated backscatter images were obtained in 8 anesthetized pigs at baseline, 5 and 60 sec after LAD coronary occlusion, and during reperfusion. Images from one cardiac cycle were analyzed off-line to create a parametric image of local videointensity oscillations. Ischemia-induced changes were quantified by segmenting the parametric images and calculating regional pixel intensity profiles. In protocol 2, parametric images were obtained from contrast-enhanced echocardiograms in 30 patients (18 with wall motion abnormalities; 12 controls). “Gold standard” for wall motion was determined from independent interpretations of dynamic images made by three experienced reviewers. Dynamic images were independently classified by 3 inexperienced and 3 intermediate experience level readers. Interpretation was then repeated in combination with parametric images. Parametric images showed a bright band in the area spanned by endocardial motion, which gradually decreased in brightness and thickness in the LAD territory during coronary occlusion in all animals. In patients, the agreement with the “gold standard” correlated with the readers’ experience (68% inexperienced, 87% intermediate) and significantly improved by adding parametric images (83% and 91%, respectively). Conclusions. Parametric imaging provides a still-frame display of regional endocardial motion, sensitive to track ischemia-induced abnormalities. When combined with dynamic images, this technique improves the accuracy of the interpretation of wall motion, especially by less experienced echocardiographers.

Keywords: echocardiography, ischemia, endocardium
Introduction

Clinical echocardiographic evaluation of regional left ventricular (LV) wall motion is based on visual interpretation of dynamic two-dimensional images of the heart. This methodology relies on the reader’s ability to integrate spatial and temporal information on endocardial excursion and wall thickening, and thus, is subjective  QUOTE "(1)" 
(1)
 and experience dependent  QUOTE "(2;3)" 
(2;3)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0CF:\5CRefMan\5CCK\03\00\03284(Cohen JL, Cheirif J, et al. 1998 284 /id\00(\00 
. These limitations could be overcome by the development of new methods capable of providing a simplified display of integrated spatial and temporal information on LV function. Moreover, the evaluation of regional wall motion can be even more difficult in patients with poorly visualized endocardium, in whom contrast agents are used to enhance the endocardial border  QUOTE "(3;4)" 
(3;4)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03285)Crouse LJ, Cheirif J, et al. 1993 285 /id\00)\00 
. In these patients, the development of techniques complementary to visual interpretation of dynamic images might improve the diagnostic value of the echocardiographic evaluation of LV wall motion.

We hypothesized that still-frame parametric images representing the amplitude of periodic changes in pixel intensity could provide objective information on LV wall motion in the area spanned by endocardial displacement during the cardiac cycle. Accordingly, the aim of this study was to develop and test the feasibility of a new technique based on parametric imaging of endocardial motion, which would be applicable to echocardiographic images obtained with or without contrast enhancement. We initially used an animal model of acute ischemia to determine whether this technique is sensitive enough to track ischemia-induced wall motion abnormalities. A subsequent protocol was carried out in patients with poor acoustic windows who required LV opacification to visualize endocardial motion. This protocol was designed to determine whether the use of parametric images in combination with dynamic images could improve the accuracy of wall motion interpretation, particularly by less experienced echocardiographers.
Methods

Protocol 1

Experiments were carried out in 8 male farm pigs (21-26 kg). The protocol was approved by the Institutional Animal Care and Use Committee, in accordance with the guidelines of the National Institutes of Health. Animals were pre-treated with telazol (2.2 mg/kg, i.m.) and atropine sulfate (0.05 mg/kg, i.m.). Following intubation, pigs were mechanically ventilated (Drager, Telford, PA) and anesthetized with isoflurane (0.5-2.5% mixed with 100% oxygen). Respiration rates were set at 12-16 strokes/min with a tidal volume of 15-20 ml/kg. Animals were restrained in a supine position. Electrocardiogram, body temperature, noninvasive blood pressure, pulse oxymetry and expiratory CO2 were monitored throughout the experiment using a Cardiocap II monitoring system (Datex, Tewksbury, MA). The ear veins were used for intravenous lines. Lidocaine was administered as a bolus (1 mg/kg, i.v.), and then continuously infused (4 mg/kg/hr) throughout the experiment to prevent ventricular arrhythmias. 

An intracoronary balloon catheter (2.5 to 3.5 mm balloon diameter; Guidant, Santa Clara, CA) was introduced via the right femoral artery into the left anterior descending (LAD) coronary artery under fluoroscopic guidance. The balloon was positioned near the origin of the artery to maximize the perfusion territory affected by balloon inflations. Balloon size and pressure necessary for complete coronary occlusion were determined by angiographically assessing distal coronary flow during intracoronary injections of Hypaque-76 (Nycomed, Princeton, NJ).

Transthoracic images were obtained using an S3 transducer (SONOS 5500, Agilent Technologies, Andover, MA) operating in a frequency range of 1 to 3 MHz. Parasternal short axis views were obtained at the level of the papillary muscles. Integrated backscatter (IBS) images were obtained at 30 frames/sec. Settings were kept unchanged throughout the experiment to eliminate gain dependency. 

Continuous image acquisition was initially performed under control conditions, then repeated 5 and 60 sec after complete coronary occlusion, and again within 30 sec after balloon deflation, during reperfusion. To minimize cardiac translation, the ventilator was stopped at end-expiration during each image acquisition. All image sequences were acquired digitally and stored on magneto-optical disk for off-line review and computer analysis. 

Protocol 2

Thirty adult patients (18 males, 12 females; age: 64(14 years), with inadequate endocardial visualization in at least two contiguous segments, as noted with harmonic imaging, were enrolled in this protocol. Exclusion criteria were pericardial effusion, the absence of normal sinus rhythm, abnormal interventricular septal motion caused by previous sternotomy, right ventricular pressure or volume overload, and/or left bundle branch block. Parasternal short-axis and apical four-chamber views were obtained in the IBS mode at 30 frames/sec. Contrast enhancement was achieved using 0.5 ml intravenous bolus injections of Optison (Mallinckrodt Medical, St. Louis, MO) in 25 patients, and continuous intravenous infusion of Definity (DuPont Pharmaceutical, North Billerica, MA) at 5 ml/min in 5 patients who signed informed consent. Gain and compression were optimized to differentiate between the signal intensity in the LV cavity and the myocardial tissue. Images were continuously obtained during held end-expiration. One cardiac cycle that was visually judged to be minimally affected by cardiac translation was stored digitally on magneto-optical disk for off-line analysis.
Construction of parametric images

Digital IBS images were first cropped to isolate the LV cavity and the surrounding myocardial tissue. For each pixel, IBS values were extracted throughout the cardiac cycle to create time series of videointensity (figure 1). Each time series was fitted into a sinusoidal function y(t)=a·sin((t)+b·cos((t), by using the standard least squares analysis. The period of this function, T=(2(()-1, was defined by the R-R interval of the ECG signal. The amplitude of the best fit function was calculated as A1=(a²+b²)½, and then divided by its mean value A0. The calculated value of this parameter of interest, A1/A0, was displayed in each pixel, resulting in a still-frame parametric image of the normalized amplitude of oscillation in local IBS intensity. Since the process of creating paprametric images required no input from the user, it was fully automated. The algorithm was implemented using commercial image analysis software (Matlab Image Processing Toolbox, The MathWorks Inc., Natick, MA).

Analysis of animal data

Parametric images obtained at each experimental phase were analyzed as follows. First, the endocardial boundary was manually traced on the short-axis end-diastolic IBS image, and the calculated centroid of the LV cavity was used as the origin of segmentation. A manually determined anatomic landmark representing the junction between the right ventricular free wall and the inter-ventricular septum  QUOTE "(5;5;6)" 
(5;5;6)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0CF:\5CRefMan\5CCK\03\00\0237/Schnittger I, Fitzgerald PJ, et al. 1984 37 /id\00/\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0CF:\5CRefMan\5CCK\03\00\0226\1FBates, Ryan, et al. 1994 26 /id\00\1F\00 
 was used as the zero degree line. The left ventricle was then divided into six 60° wedge-shaped sectors, corresponding to the standard segmentation scheme of the LV short axis view  QUOTE "(7)" 
(7)
. In each segment, 60 radial intensity profiles (1 degree apart) starting from the centroid and ending at their intersections with the manually traced end-diastolic endocardial boundary were calculated (figure 2, left panel). To account for the non-circular endocardial geometry and allow inter-animal comparisons, each profile was resampled at a fixed number of points (n=100) using linear interpolation. A mean profile was then calculated for each segment by averaging the 60 normalized profiles. To quantify regional endocardial motion, the integral of the profile was computed between its end point (i.e., the end-diastolic endocardium) and the manually determined point where the intensity reached the noise level typical of the LV cavity (figure 2, right panel). This integral was considered as a quantitative index of regional wall motion and averaged in all animals for each experimental phase. For each segment, differences between experimental phases were tested using two-way analysis of variance with repeated measures, and were considered significant for p<0.05 versus baseline.

Analysis of human data

Dynamic IBS images were independently reviewed by three experienced echocardiographers who classified each segment as normal wall motion, abnormal wall motion or non-visualized endocardium. This review was based on standard segmentation schemes recommended by the American Society of Echocardiography  QUOTE "(7)" 
(7)
. The reviewers were blinded to patient’s identity and diagnosis. For each patient, the “gold standard” interpretation of regional wall motion was defined as the concordant interpretation of at least 2 out of 3 readers. The inter-observer variability was calculated as the percentage of segments where the interpretation of one of the readers was different from that of the other two.

Subsequently, the dynamic IBS images were independently classified using the same scoring scheme by two groups of three readers each: inexperienced group A (three months of training, American Society of Echocardiography level I of training), and intermediate experience level group B (six months of training, American Society of Echocardiography level II of training)  QUOTE "(8)" 
(8)
. These observers were informed of the nature of the parametric images and the information displayed there, and were shown 4 cases not included in the study the day before their reading as an initial training. During the reading, they were unaware of either the “gold standard” or the other observers’ interpretations. The individual interpretations were compared to the “gold standard” by counting the segments where concordant (true positive and negative) as well as discordant (false positive and negative) interpretations were made.

The classification of segmental wall motion was then repeated by the same readers in a separate session wherein the dynamic loops were reviewed in combination with parametric images. The order of cases presented at the two reading sessions was randomized. For each group of readers, in each session, segment counts were used to calculate the sensitivity, specificity and accuracy of their readings against the “gold standard” expert interpretations. Individual readings were analyzed to obtain the inter-observer variability in each group. The improvement in sensitivity, specificity, accuracy and inter-observer variability achieved by adding parametric images was tested for each group of readers using the Z-test with Yates correction and considered significant for p<0.05. These analyses used sensitivity, specificity, accuracy and variability values as sample proportions and the relevant number of segments as sample sizes.

Separately analysis was performed on data obtained in the subset of patients with regional wall motion abnormalities, as defined by the “gold standard” readings. Sensitivity, specificity, accuracy and inter-observer variability, as well as statistical analyses, were re-calculated to assess the benefit of adding parametric images in this particular subset of patients.

Results

Animal protocol

Figure 3 shows an example of end-systolic (panel A) and end-diastolic (panel B) IBS images obtained in a pig under control conditions, with manually traced endocardial boundaries. Analysis of images obtained throughout the cardiac cycle resulted in a parametric image of normalized local videointensity oscillations (panel C). We found that the amplitude of oscillation in most pixels in the area contained between the end-systolic and end-diastolic contours (i.e., where endocardial motion occurred) was higher than outside this area, as a result of IBS intensity changes from low values typical of blood in diastole to high values typical of tissue in systole (panel D). Consequently, in the parametric image, (panel C) this area appeared as a bright band surrounding the LV cavity.

Figure 4 shows an example of parametric images obtained in a pig during the different experimental phases. The intensity and thickness of the bright band visualized in the control image gradually decreased as a result of coronary occlusion, reflecting the developing hypokinesis in the LAD territory, as noted in the dynamic IBS images. During reperfusion, both the thickness and intensity of the bright band increased above their control levels, reflecting hyperdynamic function.

Figure 5 shows the regional intensity profiles calculated from images shown in figure 4. Following coronary occlusion, segments in the LAD perfusion territory showed a gradual decrease in the area under profile used as a quantitative index of regional wall motion. This index, when averaged for all animals, demonstrated that this decrease was significant 60 sec after balloon inflation in the anterior wall (from 27(23 to 10(9) and the antero-septal segment (from 20(12 to 11(10). In contrast, the index of wall motion obtained from segments outside the LAD territory did not change throughout the protocol.

Human protocol

In all 30 patients, administration of contrast agents resulted in consistently and uniformly opacified LV cavity noted in the IBS images. Out of 360 segments (180 in each view), 234 were interpreted by the expert readers of dynamic images as normal, 118 as abnormal and 6 were not visualized. The remaining two segments were excluded from further analysis, since “gold standard” could not be established due to divergent interpretations among the three experts. According to the “gold standard”, out of the 30 patients enrolled in this protocol, 13 had regional wall motion abnormalities, 5 had global hypokinesis secondary to dilated cardiomyopathy and 12 had normal wall motion. The inter-observer variability of the expert interpretation of wall motion was 16%. 

Figure 6 presents an example of end-systolic (panel A) and end-diastolic (panel B) contrast-enhanced IBS images obtained in a patient with normal wall motion. The resultant parametric image (panel C) showed the same features as those obtained from non-enhanced echocardiograms in pigs (figure 3). Specifically, the bright band surrounding the LV cavity was similar in both cases, because, with contrast enhancement, the IBS intensity in the area spanned by the endocardial motion changes from high values, typical of contrast enhanced LV cavity in diastole, to lower values, typical of myocardial tissue in systole (panel D). 

Figure 7A presents an example of a short-axis parametric image obtained in a patient classified as normal by the “gold standard” interpretation. This image is characterized by a continuous bright band reflecting normal wall motion. In contrast, the parametric image obtained in a patient with inferior akinesis shows a disrupted band in the same segment (figure 7B). Figure 7C shows a parametric image obtained in a patient with dilated cardiomyopathy, where the overall thickness of the bright band is minimal reflecting global hypokinesis. 

Figure 8 shows examples of apical-four chamber parametric images obtained in a patient with normal wall motion (panel A), a patient with a hypokinetic septum as reflected by the thinned bright band compared to the lateral wall (panel B), and a patient with global hypokinesis and apical akinesis secondary to dilated cardiomyopathy (panel C). We found that in all patients, including those with normal wall motion, the thickness of the bright band was reduced at the base of the inter-ventricular septum, reflecting predominantly longitudinal rather than inward motion of this wall. 

Table 1 presents the sensitivity, specificity, accuracy and inter-observer variability data calculated for each group of readers of dynamic IBS images with and without parametric images. Results are reported for both the entire study population and the subset of patients with regional wall motion abnormalities (in parentheses).

The accuracy of the interpretations of the dynamic images alone made by the inexperienced readers (group A) was lower (68%) than that of the readers with intermediate level of experience (group B, 88%) and their inter-observer variability was more than two-fold higher (54% vs 21%). Adding parametric images to the dynamic loops significantly improved the accuracy of interpretation in group A from 68% to 83%, as well as the specificity in both groups (59% to 83% in group A; 89% to 96% in group B). Moreover, the inter-observer variability was significantly reduced by combined reading of dynamic and still-frame parametric images in both groups of readers.

In the subset of patients with regional wall motion abnormalities, the accuracy of interpretation based on dynamic IBS images was lower (group A, 61% and group B, 82%) and the inter-observer variability comparable or higher (group A, 51% and group B, 30%) than in the entire study population. The effects of adding parametric images on calculated accuracy and inter-observer variability were similar in this subset of patients to those observed in all 30 patients.

Discussion

Echocardiographic assessment of LV wall motion is the most widely used noninvasive method for the detection of regional LV dysfunction  QUOTE "(1)" 
(1)
. Based on visual interpretation of dynamic images of the heart, this methodology heavily relies on the reader’s ability to efficiently extract and integrate spatial and temporal information on endocardial motion and wall thickening, which requires extensive training and is known to be subjective and experience dependent  QUOTE "(1;2;8)" 
(1;2;8)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0235(Picano E, Lattanzi F, et al. 1991 35 /id\00(\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03342'Stewart, Aurigemma, et al. 1995 342 /id\00'\00 
. The inherent subjectivity of this methodology is partly linked to patients’ related complexities, including chest wall abnormalities, breathing artifacts and limited acoustic windows, which are of no importance to other non-ultrasound based imaging modalities. Different approaches for quantitative evaluation of regional wall motion have been proposed in the past to overcome the subjective nature of the conventional interpretation  QUOTE "(5;6;9-17)" 
(5;6;9-17)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0233*Parisi AF, Moynihan PF, et al. 1981 33 /id\00*\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0230#Klausner, Blair, et al. 1982 30 /id\00#\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0217$Pandian, Skorton, et al. 1983 17 /id\00$\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0215$Haendchen, Wyatt, et al. 1983 15 /id\00$\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0237/Schnittger I, Fitzgerald PJ, et al. 1984 37 /id\00/\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0214%Force, Bloomfield, et al. 1984 14 /id\00%\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03343$Sheehan, Bolson, et al. 1986 343 /id\00$\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0213#Ginzton, Conant, et al. 1986 13 /id\00#\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0224#Assmann, Slager, et al. 1993 24 /id\00#\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\0226\1FBates, Ryan, et al. 1994 26 /id\00\1F\00 
. However, none of these techniques is widely used in routine clinical practice because they are based on extensive analysis of multiple consecutive frames. An additional reason for the higher accuracy of an experienced reader’s interpretation over computerized techniques resides in the ability of the trained human brain to integrate, discern and take into account the limitations and distortions due to technical abnormalities. As opposed to previous techniques, our method generates still-frame images of wall motion, which is not intended to replace the conventional visual interpretation, but rather supplement it with an additional display. 
The goal of this study was to develop a new tool that would quickly and automatically create single still-frame images of endocardial motion, as a helpful adjunct to the conventional technique for the assessment of regional LV function. We used parametric images of amplitude of the local oscillations of videointensity throughout the cardiac cycle as a basis for a simple display of endocardial motion, wherein the spatial and temporal information is naturally integrated. Our hypothesis was that this display, when combined with dynamic images, might improve the accuracy and reduce the inter-observer variability in the interpretation of LV wall motion made by less experienced readers.

Parametric imaging

Parametric imaging is a well-established technique at the basis of other imaging modalities, such as magnetic resonance  QUOTE "(18;19)" 
(18;19)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03345"Ratner, Okada, et al. 1983 345 /id\00"\00 
 and positron emission tomography  QUOTE "(20;21)" 
(20;21)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03346–Application of positron emission tomography in the heart. Council on Scientific Affairs. Report of the Positron Emission Tomography Panel 1988 346 /id\00–\00 
. Although it has also been applied to echocardiographic images to visualize different types of potentially useful clinical information  QUOTE "(22-25)" 
(22-25)
, this approach to still-frame parametric imaging of LV wall motion has not been described previously.  QUOTE "" 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\012%Sklenar, Jayaweera, et al. 1992 2 /id\00%\00 

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03350#Wei, Jayaweera, et al. 1998 350 /id\00#\00 
We chose the normalized amplitude of local videointensity oscillations as the parameter to be displayed based on the hypothesis that pixel transitions between blood and tissue would generate very strong periodic changes in backscatter intensity in the area spanned by the endocardial motion over the cardiac cycle. We expected these changes to be significantly lower in other portions of the image.

This assumption was indeed confirmed in both animals, without contrast, and patients with contrast enhancement. The use of contrast agents resulted in enhanced ultrasound reflections from the LV cavity and increased the difference in backscatter signal between the cavity and the surrounding myocardium, augmenting the appearance of the normalized videointensity oscillations in the area spanned by the endocardial motion (figures 3,C and 6,C). The applicability of this method to contrast-enhanced echocardiographic images is particularly important in patients with sub-optimal endocardial visualization who benefit from LV opacification  QUOTE "(3;4)" 
(3;4)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03285)Crouse LJ, Cheirif J, et al. 1993 285 /id\00)\00 
. 

We also found that parametric images maintained the morphologic features of the heart, thus allowing the reader to relate this information to the underlying cardiac structures, and in particular, to easily identify the location of the detected wall motion abnormalities. This was demonstrated in both the short-axis and apical four-chamber views.

Since the analysis of individual pixel intensity variations over time is very sensitive to speckle noise inherent to most ultrasound imaging modes  QUOTE "(26)" 
(26)
, we chose IBS images as the raw data for parametric imaging because of the relatively low level of speckle noise, which allows parametric images to be generated automatically and quickly (within 1 min). Although harmonic images are known to provide improved endocardial definition  QUOTE "(27;28)" 
(27;28)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03291*Kornbluth M, Liang DH, et al. 1998 291 /id\00*\00 
, our early attempts to use them as the raw data showed that the relatively high levels of speckle noise precluded the construction of meaningful parametric images. While an alternative solution of filtering harmonic images prior to analysis might improve the quality of parametric images  QUOTE "(29)" 
(29)
, it would require significantly longer computation time without clear additional benefits. 

Study design

The ability of this technique to reflect changes in regional wall motion was initially tested in protocol 1 in an animal model of acute ischemia and reperfusion. These changes were judged by both visual examination and quantitative segmental analysis of the parametric images. Although this quantitative analysis required manual tracing of endocardial borders, which was time consuming and operator dependent, its goal in this study was to allow us to test the effects of induced ischemia for statistical significance, rather than suggest clinical application.

In protocol 2, we tested the feasibility of applying our technique to IBS images obtained in human subjects with poor acoustic windows. To achieve this goal, we studied patients with wall motion abnormalities and subjects with normal LV function, who required LV opacification in order to visualize the endocardium throughout the cardiac cycle. These patients are the main target population of new techniques designed to aid in the assessment of wall motion. To determine the usefulness of this approach, the combined use of dynamic IBS and parametric images was compared with the review of dynamic images alone. This was achieved by calculating the accuracy and reproducibility of the proposed technique at different level of experience. Our analysis was repeated in the subset of patients with regional wall motion abnormalities to evaluate the benefits of using this technique in this population, where accurate assessment of LV wall motion may require higher level of expertise.

Interpretation of results

Animal data obtained during acute ischemia and reperfusion confirmed the hypothesis that parametric images indeed provide a simple still-frame display of endocardial motion, sensitive enough to visualize ischemia-induced regional hypokinesis. These data also proved that contrast enhancement is not necessary to create parametric images of endocardial motion, and that these images can be obtained from good quality IBS images without LV opacification. Regional intensity profiles obtained from parametric images demonstrated gradual development of hypokinesis in the LAD perfusion territory, which was detectable in some animals as early as 5 sec after balloon inflation (figure 5). The index of wall motion calculated from these profiles quantitatively confirmed the significance of these ischemia-induced changes 60 sec post balloon inflation (figure 5). The profiles obtained during reperfusion were similar to baseline, as well as the values of the index of wall motion in most segments. 

Although contrast-enhanced IBS images are not the standard for the evaluation of LV wall motion, the review of these images obtained in patients with poor image quality by experienced readers resulted in inter-observer variability of 16%, which was comparable with the variability of 13.5% in the conventional interpretation of regional systolic wall motion based on good quality B-mode scans  QUOTE "(30)" 
(30)
. The use of contrast in these patients enhanced the difference in the amplitude of oscillation between myocardial tissue and the blood pool, resulting in improved definition of wall motion in segments that were poorly visualized without contrast.

Our results once again confirmed the importance of experience in the visual interpretation of LV wall motion based on review of dynamic images  QUOTE "(2)" 
(2)
 by demonstrating clear differences between the accuracy of readings made by group A and group B. The accuracy and mainly the specificity of reading by both groups were improved by adding parametric images, despite the non-significant decrease in sensitivity in group B. Similar findings were obtained in the subset of patients with regional wall motion abnormalities, in which accurate interpretations of wall motion were not surprisingly more difficult to achieve for both groups A and B, with and without parametric images. Interestingly, with the aid of parametric images, the inexperienced readers were able to reach the level of accuracy similar to that of level II echocardiographers. In fact, these readers reached the level of the expert readers, as reflected by the low level of discordance between their reading and the ”gold standard” (below 10%) and low inter-observer variability (12%), which were comparable with the inter-observer variability of the “gold standard” itself (16%). These findings indicate that this technique is a useful aid for the less experienced echocardiographers, and has the advantage of being more objective than the conventional methodology.

Limitations

Similar to any new imaging technique, interpretation of parametric images requires initial learning and basic understanding of the information displayed. The main limitation of this technique is its high sensitivity to noise that may be caused by cardiac translation, especially in the apical views. To minimize translation-related artifacts, images were acquired in pigs with the respirator turned off and in patients at held end-expiration. Since only one cardiac cycle was acquired, we did not average multiple cardiac cycles and did not test the reproducibility of parametric imaging in its ability to demonstrate wall motion abnormalities. Although it is reasonable that analysis of wall thickening might be advantageous over endocardial motion, such analysis would be based on a completely different approach than that at the basis of our technique. 

Another limitation is that the presence of the papillary muscles or chordae tendinae in the imaging plane during part of the cardiac cycle may result in artifacts in the parametric images and thus confound the interpretation of wall motion. Nevertheless, if parametric images are used in conjunction with dynamic 2D images, these artifacts are easy to identify.

As an initial attempt for potentially more objective analysis of parametric images, we tested a quantitative index of regional wall motion in the animal protocol and found that this index was significantly affected by ischemia and reperfusion. We have not applied this analysis to the human data, since it would interfere with the simplicity of this protocol and distract the reader from the goals of the human study. 

Another recent technique, color kinesis, provides a still-frame display of endocardial motion with temporal information color-encoded  QUOTE "(30;31)" 
(30;31)

 QUOTE ""  ADDIN REFMAN ÿ\11\05‘\19\01\00\00\00\00\01\00\00\0Cf:\5Crefman\5Cck\03\00\03149$Mor-Avi, Vignon, et al. 1997 149 /id\00$\00 
. Although at this time, our technique does not show the timing of endocardial motion, it has the advantage of being free of operator-dependent gain settings necessary for accurate endocardial border detection and tracking, inherent to color kinesis. Future refinements of our technique may include parametric imaging of phase of endocardial motion. 

In this study, we explored the potential benefits of parametric imaging in a relatively small number of patients. This approach needs to be thoroughly tested in the future in a larger group of patients undergoing echocardiographic pharmacological stress-testing, where assessment of regional wall motion is even more difficult than at rest, and the additive benefits of our technique would be potentially more significant.

Summary

The results of this study proved the feasibility of a new technique for still-frame parametric imaging of endocardial motion. This technique was found to be reproducible and sensitive enough to detect and quantify ischemia-induced changes in a closed-chest animal model, as well as to accurately diagnose wall motion abnormalities in patients with poor acoustic windows who required LV opacification to visualize the endocardium. When combined with dynamic images obtained in humans, this technique has the ability to improve the accuracy of the interpretation of LV wall motion by less experienced echocardiographers, and has the advantage of being more objective than the conventional methodology. 

Acknowledgement

The authors want to thank Drs. Keith Miller, Greg Neithardt, Ravi Garg, Savitri Fedson, Patrick Thomas and Ajoy Kapoor for their time and effort spent reviewing the images for this study.

References

1. 
Popp RL, Agatston A, Armstrong WF, et al. Recommendations for training in performance and interpretation of stress echocardiography. J Am Soc Echocardiogr 1998;11:95-6.

2. 
Picano E, Lattanzi F, Orlandini A, et al.  Stress echocardiography and the human factor: the importance of being expert. J Am Coll Cardiol 1991;17:666-9.

3. 
Cohen JL, Cheirif J, Segar D, et al. Improved left ventricular endocardial border delineation and opacification with Optison (FS069), a new echocardiographic contrast agent - Results of a phase III multicenter trial. J Am Coll Cardiol 1998;32:746-52.

4. 
Crouse LJ, Cheirif J, Hanley DE, et al. Opacification and border delineation improvement in patients with suboptimal endocardial border definition in routine echocardiography: results of the phase III Albunex multicenter trial. J Am Coll Cardiol 1993;22:1494-500.

5. 
Bates J, Ryan T, Rimmerman C, et al. Color coding of digitized echocardiograms:  description of a new technique and application in detecting and correcting for cardiac translation. J Am Soc Echocardiogr 1994;7:363-9.

6. 
Schnittger I, Fitzgerald PJ, Gordon EP, et al. Computerized quantitative analysis of left ventricular wall motion by two-dimensional echocardiography. Circulation 1984;70 :242-54.

7. 
Schiller NB, Shah PM, Crawford M, et al. Recommendations for quantitation of the left ventricle by two-dimensional echocardiography. J Am Soc Echocardiogr 1989;2:358-67.

8. 
Stewart WJ, Aurigemma GP, Bierman FZ et al. Guidelines for training in adult cardiovascular medicine. Core Cardiology Training Symposium (COCATS). Task Force 4: training in echocardiography. J Am Coll Cardiol 1995;25:16-9.

9. 
Moynihan P, Parisi A, Feldman CL. Quantitative detection of regional left ventricular contraction abnormalities by two-dimensional echocardiography  I.  Analysis of methods. Circulation 1981;63:752-60.

10. 
Parisi AF, Moynihan PF, Folland ED, et al. Quantitative detection of regional left ventricular contraction abnormalities by two-dimensional echocardiography  II.  Accuracy in coronary artery disease. Circulation 1981;4:761-7.

11. 
Klausner S, Blair T, Bulawa W, et al. Quantitative analysis of segmental wall motion throughout systole and diastole in the normal human left ventricle. Circulation 1982;65:580-90.

12. 
Pandian N, Skorton D, Collins S, et al. Heterogeneity of left ventricular segmental wall thickening and excursion in 2-dimensional echocardiograms of normal human subjects. Am J Cardiol 1983;51:1667-73.

13. 
Haendchen R, Wyatt H, Maurer G et al. Quantitation of regional cardiac function by two-dimensional echocardiography  I. Patterns of contraction in the normal left ventricle. Circulation 1983;67:1234-45.

14. 
Force T, Bloomfield P, O'Boyle J, et al. Quantitative two-dimensional echocardiographic analysis of regional wall motion in patients with perioperative myocardial infarction. Circulation 1984;70:233-41.

15. 
Sheehan FH, Bolson EL, Dodge HT, et al. Advantages and applications of the centerline method for characterizing regional ventricular function. Circulation 1986;74:293-305.

16. 
Ginzton L, Conant R, Brizendine M, et al. Quantitative analysis of segmental wall motion during maximal upright dynamic exercise: variability in normal adults. Circulation 1986;73:268-75.

17. 
Assmann P, Slager C, van der Borden S, et al. Comparison of models for quantitative left ventricular wall motion analysis from two-dimensional echocardiograms during acute myocardial infarction. Am J Cardiol 1993;71:1262-9.

18. 
Steiner RE, Bydder GM, Selwyn A et al. Nuclear magnetic resonance imaging of the heart. Current status and future prospects. Br Heart J 1983;50:202-8.

19. 
Ratner AV, Okada RD, Brady TJ. Nuclear magnetic resonance imaging of the heart. Semin Nucl Med 1983;13:339-46.

20. 
Selwyn AP, Smith TW. Current and future directions for clinical investigation of the heart with positron-emission tomography. Circulation 1985;72:IV31-IV38.

21. 
 Application of positron emission tomography in the heart. Council on Scientific Affairs. Report of the Positron Emission Tomography Panel. JAMA 1988;259:2438-45.

22. 
Botvinick E, Dunn R, Frais M et al. The phase image: its relationship to patterns of contraction and conduction. Circulation 1982;65:551-60.

23. 
Kuecherer HF, Abbott JA, Botvinick EH et al. Two-dimensional echocardiographic phase analysis. Its potential for noninvasive localization of accessory pathways in patients with Wolff-Parkinson-White syndrome. Circulation 1992;85:130-42.

24. 
Sklenar J, Jayaweera A, Kaul S. A computer-aided approach for the quantitation of regional left ventricular function using two-dimensional echocardiography. J Am Soc Echocardiogr 1992;5:33-40.

25. 
Wei K, Jayaweera AR, Firoozan S, et al. Quantification of myocardial blood flow with ultrasound-induced destruction of microbubbles administered as a constant venous infusion.  Circulation 1998;97:473-83.

26. 
Massay RJ, Logan-Sinclair RB, Bamber JC, et al. Quantitative effects of speckle reduction on cross sectional echocardiographic images. Br Heart J 1989;62:298-304.

27. 
Spencer KT, Bednarz J, Rafter PG, et al. Use of harmonic imaging without echocardiographic contrast to improve two-dimensional image quality. Am J Cardiol 1998;82:794-9.

28. 
Kornbluth M, Liang DH, Paloma A, et al. Native tissue harmonic imaging improves endocardial border definition and visualization of cardiac structures. J Am Soc Echocardiogr 1998;11:693-701.

29. 
Zong X, Laine AF, Geiser EA. Speckle reduction and contrast enhancement of echocardiograms via multiscale nonlinear processing. IEEE Trans Med Imaging 1998;17:532-40.

30. 
Lang R, Vignon P, Weinert L, et al. Echocardiographic quantification of regional left ventricular wall motion using Color Kinesis. Circulation 1996;93:1877-85.

31. 
Mor-Avi V, Vignon P, Koch R, et al. Segmental analysis of Color Kinesis images: New method for quantitative assessment of left ventricular contraction and relaxation.  Circulation 1997;95:2082-97.

Figure Legends

Figure 1. Scheme for construction of parametric images. Pixel values are extracted from the IBS images frame-by-frame (left) to create for each pixel time series of videointensity, which are then fitted into a sinusoidal function with the period equal to the duration of the cardiac cycle (right). A parametric image is then created by displaying in each pixel the amplitude of the best fit function (A1) divided by its mean value (dashed line).

Figure 2. Schematic representation of the quantitative analysis of parametric images. (A) LV was segmented into six 60° sectors originating from the centroid of the manually traced end-diastolic endocardial boundary; in each sector, 60 radial intensity profiles were calculated and averaged to provide a mean regional intensity profile. (B) Partial area under the mean intensity profile (shaded), representing the portion of the profile between the end-systolic (ES) and end-diastolic (ED) endocardial borders, was used as an index of regional wall motion (see text for details).

Figure 3. Example of end-systolic (A) and end-diastolic (B) IBS images and the parametric image of local videointensity oscillations (C) obtained in a pig under control conditions, with manually traced endocardial boundaries superimposed. Local videointensity time-series (D) obtained in a point that remains inside the LV cavity throughout the cardiac cycle (*1), and in a point that is always in the myocardium (*2), showed minimal variations over time, resulting in near zero amplitude of best fit sinusoidal functions. In contrast, time-series obtained in a point located between the traced contours (*3) showed clear periodical oscillations. These oscillations resulted in a high amplitude best fit functions reflected in the parametric image (C) by a bright band in the area spanned by the endocardial motion.

Figure 4. Example of parametric images obtained in a pig under control conditions, 5 sec and 60 sec post LAD occlusion, and during reperfusion. Coronary occlusions resulted in a gradual decrease in the thickness and intensity of the bright band reflecting reduced endocardial motion in the anterior, antero-septal and septal walls (arrows). During reperfusion, both thickness and intensity of the bright band increased above their control levels, reflecting hyperdynamic function.

Figure 5. Regional intensity profiles calculated from parametric images shown in figure 4 (curves represent pixel intensity as a function of distance from the centroid). Index of regional wall motion (see text for details) averaged in all animals is shown above each profile (mean(SD). Note the gradual decrease in the index of wall motion caused by coronary occlusion in the LAD related segments (*p<0.05). Abbreviations: Reperf. – reperfusion; ant – anterior, asp – anteroseptal, sep – septal, inf – inferior, pst – posterior, lat – lateral.

Figure 6. Example of end-systolic (A) and end-diastolic (B) contrast-enhanced IBS images and the parametric image (C) obtained in a patient with normal wall motion, displayed in the same format as in figure 3. The parametric image shows a bright band in the area spanned by the endocardial motion similar to those obtained without contrast enhancement in pigs, because IBS intensity in this area changes from high values typical of contrast enhanced LV cavity in diastole to lower values typical of myocardial tissue in systole (D). Moreover, local videointensity time-series in point 1 showed low amplitude of oscillation around a high mean value, resulting in very low intensity in the parametric image, while in point 3 higher amplitude of oscillation around lower mean value resulted in a considerably higher intensity (C).

Figure 7. Examples of parametric short-axis images obtained in three patients: with normal wall motion (A); with inferior and posterior akinesis as reflected by disrupted bright band in these regions (arrow) (B); and with global hypokinesis secondary to dilated cardiomyopathy as depicted by the thin bright band with regional variability reflecting heterogeneity in wall motion (C).  

Figure 8. Examples of parametric apical 4-chamber images obtained in three patients: with normal wall motion (A); with a hypokinetic septum as reflected by the thinned bright band compared to the lateral wall (B); and with global hypokinesis and apical akinesis secondary to dilated cardiomyopathy (C).

Table 1. Interpretation of Regional Endocardial Motion.

	
	
	Sensitivity
	Specificity
	Accuracy
	Interobserver variability

	Group A
	IBS
	86% (81%)
	59% (49%)
	68% (61%)
	54% (51%)

	
	IBS and Parametric
	87% (83%)
	83%* (75%*)
	83%* (77%*)
	32%* (38%*)

	Group B
	IBS
	90% (86%)
	89% (81%)
	88% (82%)
	21% (30%)

	
	IBS and Parametric
	86% (80%)
	96%* (92%)
	91% (86%)
	12%* (18%*)


Sensitivity, specificity, and accuracy obtained in group A of inexperienced readers and group B of readers with intermediate level of experience calculated against the “gold standard” interpretation, made by three experienced echocardiographers. Inter-observer variability is also shown for each group (see text for details). To assess the benefit of adding parametric images, each group reviewed dynamic IBS images with and without parametric images (* p<0.05). Results are reported for both the entire study population and, in parentheses, the subset of patients with regional wall motion abnormalities.










