Foot pressure distribution in children with cerebral palsy while standing

Manuela Galli1, 2, Veronica Cimolin1, Massimiliano Pau3, Bruno Leban3, Reinald Brunner4, Giorgio Albertini2

1 Department of Electronics, Information and Bioengineering, Politecnico di Milano, Milan, Italy

2 IRCCS “San Raffaele Pisana”, Tosinvest Sanità, Rome, Italy

3 Department of Mechanical, Chemical and Materials Engineering, University of Cagliari, Cagliari, Italy

4 Children’s University Hospital Basel (UKBB), Basel, Switzerland

Corresponding author:

# Veronica Cimolin, PhD

# Department of Electronics, Information and Bioengineering

# Politecnico di Milano

# P.zza Leonardo da Vinci 32

# 20133 - Milano

# Italy

# tel.: +39 02 2399 3359

# fax.: +39 02 2399 3360

veronica.cimolin@polimi.it

Abstract

Foot deformity is a major component for impaired function in Cerebral Palsy (CP). While gait and balance issues related to CP have been studied extensively, there is few information to date on foot-ground interaction (i.e. contact area and plantar pressure distribution).

This study aimed to characterize quantitatively the foot-ground contact parameters during static upright standing in hemiplegia and diplegia.

We studied 64 children with hemiplegia (mean age 8.2 years; SD 2.8 years) and 43 with diplegia (mean age 8.8 years; SD 2.3 years) while standing on both legs statically on a pressure sensitive mat. We calculated pressure data for the whole foot and sub-regions (i.e. rearfoot, midfoot and forefoot) and average contact pressure. The Arch Index (AI) served for classifying the feet in flat, normal and cavus feet. The data were compared with those from a sample of age- and gender-matched participants (Control Group, 68 children). Most of feet showed very high AI values, thus indicating a flat foot. This deformity was more common in diplegia (74.4%) than in hemiplegia (54.7%). In both, diplegic and hemiplegic children, average plantar pressure was significantly increased in the forefoot and midfoot and decreased in the rearfoot.

The present data indicate an increased load of the anterior foot parts, which may be due to plantarflexor overactivity or knee flexion. It is combined with an increased incidence of low foot arches. As a low foot arch not necessarily increases forefoot load this deformity can be regarded as secondary.

Keywords: Cerebral palsy, posture, foot, arch index plantar pressure; standing, rehabilitation

1. Introduction

Cerebral Palsy (CP) is described as a group of permanent disorders of movement and posture development that causes functional limitations as well as difficulties in activities of daily living. CP disorders are attributed to non-progressive alterations that occur during fetal or infant development of the brain. The most typical symptoms of CP are disorders of movement activities of various degrees and that affects different body districts. Such alterations often assume the form of contractures of limbs and trunk muscles, mostly of spastic type, balance disorders and motor hyperactivity. A very common disorder is represented by the restriction of walking efficiency or even a child’s inability to walk on its own. The lack of control is obvious at the ankle and foot joints in stance phase. It results from poorly controlled muscle activity, contractures and/or bony foot deformities. In particular, the foot deformities, which are very common in individuals with CP, lead to unnatural support of the foot on the ground, to abnormal pressure distribution and to altered gait and posture (Dziuba & Szpala, 2008).

Although the literature has widely investigated the degree of functional limitation of gait and posture in  children with CP using 3D movement analysis (Ferreira et al., 2014; Saxena, Rao &Kumaran, 2014; Rojas et al., 2013; Chang, Rodhes, Flynn, & Carollo, 2010; Galli, Cimolin, Rigoldi, Tenore, & Albertini, 2010; Cimolin, Galli, Tenore, Albertini, & Crivellini, 2007; Piccinini et al., 2007; Galli et al., 2007; Gage, 2004; Sutherland &Davids, 1993), quantitative studies on the characterization of foot morphology and functionality in these patients are scarce.

In previous researches, pedobarography was used mainly to assess the plantar pressure during walking. Femery et al. (Femery, Moretto, Renaut, Thevenon, & Lensel, 2002) reported that hemiplegic children are characterized by significant differences in load distribution under the feet of both the affected and unaffected limbs particularly as regards of midfoot, the first metatarsal head and the hallux. Park et al. (Park et al., 2006) identified characteristics of foot pressure distribution during gait in different type of foot deformities (equinus, equinovarus and equinovalgus) using a computerized insole sensor system and assessed changes after corrective surgery in children with spastic CP. Nsenga-Leunkeu, Lelard, Shepard, Doutrellot, & Ahmaidi, 2014) compared the extent of plantar pressures during walking in a sample of children with CP and able-bodied peers. Plantar pressure differed substantially and consistently between healthy and CP, with increased medial heel pressure in hemiplegia, and reduced hallux and lateral heel pressure but increased lateral, medial mid-foot and first metatarsal pressure in diplegia. Pauk, Daunoraviciene, Ihnatouski, Griskevicius, & Raso, 2010) assessed the pressure distribution under typical feet and those of patients with deformities, including patients with CP, during static and walking conditions., Their aim was to characterize the different foot deformities, however, such as planovalgus, clubfoot and pes planus, independent from the basic disease.

To our knowledge, up to date no study focused on characterizing foot type and plantar pressure distribution during static standing in CP, as this condition was mainly investigated using force platform to evaluate postural sway and thus static balance abilities. (Rojas et al., 2013). In particular, it was highlighted that the postural control system of patients with spastic diplegic CP performed worse of compared to patients with spastic hemiplegic CP.

The foot as the base of the body thus plays an important role and deformities may thus cause difficulties in daily life (Rojas et al., 2013) The aim of the present study was to characterize quantitatively the foot morphology and plantar pressure patterns in children with CP (diplegics and hemiplegics) during upright standing. Foot problems are common in patients with CP; so our hypothesis is that children with CP show particular plantar pressure patterns with respect to healthy.

## 2. Material and methods

## 2.1. Participants

## 107 children with spastic CP at an age range from 5-13 (mean age 8.6 years, SD 2.4 years) consecutively examined at the Movement Analysis Lab of the IRCCS “San Raffaele Pisana” (Italy) were recruited for the present study. Children were included in the study if they met the following criteria: (a) could stand up independently without assistance and with the entire plantar area in contact with the ground, (b) had no previous orthopedic surgery at the foot or tibia, (c) had no injection of botulinum toxin into lower limbs within 6 months or casts at these levels, (d) without any associated problems that could influence their balance (mental deficiency, severe visual and sensory problems). They were classified as diplegic, right hemiplegic and left hemiplegic CP. We distinguished between right and left hemiplegic CP because in literature a different gait pattern was documented in the two groups (Galli, Cimolin, Rigoldi, Tenore, & Albertini, 2010). A different foot type was supposed to be present in the two hemiplegic groups. Three control groups (CG1, CG2 and CG3) of the same size and gender- and age-matched were established from unaffected children attending three primary school classes in the city of Cagliari (Italy). The main anthropometric features as well as the number of the participants for each tested group are reported in Table 1.

[Please insert here Table 1]

## The study was approved by the local Ethics Committee and written informed consent was obtained from the parents of the children.

## 2.2. Data acquisition and post-processing

## We used a pressure sensitive mat (Tekscan 5315, Tekscan Inc., South Boston, MA, USA), composed of 2016 sensing elements arranged in a 42x48 matrix and connected via USB interface to a Personal Computer. Participants were placed on the mat with the help of an assistant who, after a brief familiarization period, asked them to stand as still as possible for 5 second trials. A total of 40 temporal frames (sampled at 8 Hz) were acquired barefoot for each trial, and matrices containing the foot-ground pressure value for each element of the sensitive grid were exported for further analysis.

## Raw data were post-processed with a custom made routine (Matlab®). Basically the code allows the operator to identify the two extreme points of the foot axis (i.e. the center of the heel and the tip of the second toe, Cavanagh & Rodgers, 1987) and afterwards provide the automatic division of the foot-ground contact area in three sub-regions, namely rearfoot, midfoot and forefoot, calculating for each of them:

## the respective contact area (mm2)

## the respective mean contact pressure (i.e. the ratio between the load acting on a certain plantar sub-region and its area, expressed in kPa)

## Arch Index (AI) defined as the ratio between the midfoot area and the overall contact area (toe excluded, according to Cavanagh & Rodgers, 1987).

## In order to attenuate possible alterations of the plantar pressure values originated by high postural sway typical of children with CP (inserire una referenza?) we calculated the mean value across all the 40 temporal frames for each parameter of interest as representative of the whole trial and used it to compare the two groups.

We preliminarily screened the acquired data for possible differences between the groups in respect of anthropometric features. A one-way ANOVA using children status as IV (affected by CP or CG) and age, height and body mass as dependent variable (DV), revealed that there are no significant differences between the groups regarding all the anthropometric variables (Table 1).

Differences in the foot-ground interaction parameters introduced by the pathology were assessed using two-way multivariate analyses of variance (MANOVA). The independent variables (IVs) were the disease (CP or CG) and limb (left or right). The eight DVs were total contact area, sub-region (rearfoot, midfoot and forefoot) contact area, mean pressure, and AI. The level of significance was set at p = 0.05 and effect sizes were assessed using the eta-squared coefficient (2). One-way ANOVAs for each dependent variable were used for follow-up analyses, setting the level of significance to p = 0.007 (0.05/7) after a Bonferroni adjustment for multiple comparisons.

All feet were classified according to their respective AI values following the original classification proposed by Cavanagh and Rodgers (1987) on the basis of the quartiles calculated for a sample of 107 healthy adults. In particular the feet are classified as flat feet / pes planus (low or missing arch) when AI > 0.26, normal feet (normal arch) for  0.21 > AI < 0.26 and cavus feet (high arch) when AI < 0.21).

## 3. Results

In Table 2 and 3 the values of the sub-region contact areas, the Arch Index and the sub-region average contact pressure in the three groups of children with CP and the control groups are listed.

[Please insert here Tables 2 and 3]

## 3.1. Diplegic CP

The MANOVA revealed an overall effect of the disease F(7,162) = 32.56, p<0.001, 2 = 0.58) on foot-ground contact parameters. The follow-up analysis showed that individuals with diplegia showed significantly reduced rearfoot contact areas compared to CG (-59%, p<0.001), increased midfoot areas (+28%, p=0.003), and increased AI (0.30 vs. 0.20. p<0.001). The plantar pressures values were increased for diplegic children in both forefoot and midfoot (of 23 and 68% respectively, p<0.001) while in the rearfoot the mean pressure was 56% lower than in controls.

Foot types were distributed as follows:

- 64 flat feet (74.4% of the evaluated feet of diplegic),

- 16  cavus feet (18.6% of the evaluated feet of diplegic) , and

- 6 normal feet (7% of the evaluated feet of diplegic).

33 participants presented the same foot type bilaterally (27 flat foot, 2 normal foot and 4 pes cavus), 3 patients had a combination of cavus and flat foot, 6 patients of a flat and a normal foot and 1 patient a cavus and a normal foot.

## 3.2. Left hemiplegic CP

For left hemiplegic children with CP, the MANOVA showed a significant effect of the disease as well (F(7,114) = 10.28, p<0.001, 2 = 0.39) for the foot-ground contact parameters. Nevertheless, the only plantar region with contact area significantly different to controls was the rearfoot, which is smaller by 22% (p=0.003). The higher AI value in left hemiplegic children did not reach statistical significance (0.25 vs. 0.22, p=0.011).

The mean contact pressure in rearfoot (28% lower than controls, p<0.001) and forefoot (+23%, p=0.002) differed significantly.

Foot types  were distributed as follows:

- 35 flat feet (53% of the evaluated feet of left hemiplegic),

- 18 cavus feet (27.3% of the evaluated feet of left hemiplegic), and

- 13 normal feet (19.7% of the evaluated feet of left hemiplegic).

17 participants presented with the same foot type bilaterally (10 flat foot, 4 normal foot and 3 pes cavus), 5 patients showed a cavus  on one and a flat foot on the other side, 7 patients flat and normal foot and 4 patients cavus and normal foot.

## 3.3. Right hemiplegic CP

Similarly to left hemiplegic CP, a main significant effect of the disease was found (F(7,122) = 20.68, p<0.001, 2 = 0.54), but the differences in contact areas involved only the rearfoot, which is 40% smaller than in controls (p<0.001). A widespread presence of flatfoot in right hemiplegic children was indicated by the significantly larger AI value (0.25 vs. 0.21, p=0.002).

The mean plantar pressure of right hemiplegic CP was higher than in controls for forefoot and midfoot (of 29% and 34% respectively, p<0.001 and p=0.003) while it was markedly reduced for the rearfoot (-81%, p<0.001).

There were:

- 35 flat feet (56.5% of the evaluated feet of right hemiplegic),

- 16 cavus feet (25.8% of the evaluated feet of right hemiplegic), and

- 11 normal feet (17.7% of the evaluated feet of right hemiplegic).

17 participants presented with the same foot type bilaterally (12 flat foot, 1 normal foot and 4 cavus foot), 2 patients showed a foot cavus on one and a flat foot on the other side, 7 patients a flat and a normal foot and 5 patients a cavus and a normal foot.

# 4. Discussion

Electronic pedobarography has been proven helpful in investigating plantar pressure patterns during standing and walking. The method is valuable to assess the effect of alterations in foot morphology and functionality and monitor the effects of rehabilitative or surgical treatment. It can be used to examine children and adults with a wide variety of foot impairments associated with neurological and musculoskeletal disorders. It further provides objective data from quantitative static/dynamic analysis of footprints, based on the distribution of plantar pressure while the foot has contact with the ground. (Orlin & McPoil, 2000). Pedobarography allows for quantifying changes in plantar pressure distribution in the various foot regions. While the dynamic plantar pressure assessment provides important information on load of the foot and its parts during walking, pressure assessment in standing gives important information how the foot and its arts are loaded by the human body in patients with various postural deformities, amongst those CP.

Deformities of the feet are in fact the most common musculoskeletal problem in children with CP (Gage, 2004). Since the foot is the platform upon which we stand and balance, and upon which we push-off from the ground to walk, run or jump, we understand how important it is to study these abnormalities in CP to better understand the possible causes, which alter postural balance and walking. The classification of foot type and of pressure distribution during standing has not been documented in CP yet.

Our data showed a reduced rearfoot contact area in both, diplegics and hemiplegics, compared to CG. In addition, the midfoot area was increased in diplegics. Most of CP patients showed increased AI in comparison to CG, which indicates the high percentage of flat foot deformity.  This deformity was especially frequent in diplegics. This means that all CP children had a higher load on the forefoot, and the diplegics showed a higher incidence of flat feet.As regards the plantar pressures, increased values were found in both forefoot (for all patients) and midfoot (excluded left hemiplegics). This increased midfoot contact with reduced rearfoot load can be seen as an indicator for an extreme flatfoot as it is seen in midfoot break. A probable cause is loading of the foot with the toes first as it occurs in patients with cerebral palsy due to either equinus foot position or knee flexion posture and lack of foot protection by orthotics. The strategies used, equinus foot or knee flexion posture, may also be seen as an attempt to compensate for poor stability of posture, which is common in CP (Saxena, Rao &Kumaran, 2014).

Midfoot break shown as overload of fore- and midfoot such as in diplegia reduces the lever arm for the triceps surae muscles, which are important for posture control. The consequence would thus be loss of control on knee extension, which clinically comes up as crouch posture (Gage, 2004). Crouch posture is defines as increased ankle dorsiflexion, knee and hip joint flexion. The additional anterior pelvic tilt shifts the Centre of Pressure in the forefoot part.

From a clinical perspective, precise and quantitative characterization of the foot type in CP is important to identify, develop and enhance the rehabilitative options. For this study, we relied only on the foot pressure data as the clinical assessment remains subjective and x-rays have not been carried out for analysis of gait or standing posture and thus the foot deformity was derived only from the AI value. Other clinically important components of the foot deformity such as rotation and supination / pronation thus are not taken into account. Nevertheless, the high number of deformed feet in barefoot function indicates that protection and correction is required. Both can be reached by applying respective orthotics, and surgery may be used for corrections. Untreated foot deformities, however, can impede the control on the leg, especially knee extension, and thus impede function. The characterization of foot in these patients will improve the clinical management of these patients as corrective and protective devices can be constructed in a more precise way.

Applying a modeling approach together with plantar foot measurement may offer a more thorough insight in the development and the possibilities of prevention and treatment of such deformities.

The study shows that equally to gait the foot in CP patients is characterized by deformities while standing and leads a change of load of the foot which affects posture control. The flat foot deformity is more common in diplegics than in hemiplegics as is crouch gait. The foot deformity thus may be related to the loss of knee control, which finally may result in the crouch position.

# Acknowledgements

The authors wish to thank Mr. Nunzio Tenore and Dr Claudia Condoluci of IRCCS “San Raffaele Pisana” for support in selecting patients and Eng. Arrig El Gaezey and Veronica Calzari for support in data analysis.

References

Bensoussan, L., Mesure, S., Viton, J. M., & Delarque, A. (2006) Kinematic and kinetic asymmetries in hemiplegic patients' gait initiation patterns. Journal of Rehabilitation Medicine. 38, 5, 287-94.

Cavanagh, P.R. & Rodgers, M.M. (1987). The arch index: a useful measure from footprints. Journal of Biomechanics 20, 5, 547-551.

Chang, F. M., Rhodes, J. T., Flynn, K. M., & Carollo, J. J. (2010) The role of gait analysis in treating gait abnormalities in cerebral palsy. Orthopedic Clinics of North America, 41, 4, 489-506

Galli, M., Cimolin, V., Rigoldi, C., Tenore, N., & Albertini, G. (2010) Gait patterns in hemiplegic children with Cerebral Palsy: comparison of right and left hemiplegia. Research in Developmental Disabilities, 31, 6, 1340-5.

Cimolin, V., Galli, M., Tenore, N., Albertini, G., & Crivellini, M. (2007) Gait strategy of uninvolved limb in children with spastic hemiplegia. Europa Medicophysica, 43, 303-10

Dziuba, A., & Szpala, A. (2008) Foot kinematics in gait of children with cerebral palsy (CP). Acta of Bioengineering and Biomechanics, 10, 4, 3-6.

Femery, V., Moretto, P., Renaut, H., Thévenon, A., & Lensel, G. (2002) Measurement of plantar pressure distribution in hemiplegic children: changes to adaptative gait patterns in accordance with deficiency. Clinical Biomechanics (Bristol, Avon), 17, 5, 406-13

Ferreira, L. A., Cimolin, V., Costici, P.F., Albertini, G., Oliveira, C.S., & Galli M. (2014) Effects of gastrocnemius fascia lengthening on gait pattern in children with cerebral palsy using the Gait Profile Score. Research in Developmental Disabilities, 35, 5, 1137-43.

Gage JR. (2004). The treatment of gait problems in cerebral palsy. Gage JR editor. London: Cambridge University Press, (Chapter 19).

Galli, M., Cimolin, V., Valente, E. M., Crivellini, M., Ialongo, T., & Albertini, G. (2007) Computerized gait analysis of botulinum toxin treatment in children with cerebral palsy. Disability and Rehabilitation, 29, 8, 659-64

Galli, M., Cimolin, V., Rigoldi C., Tenore, N., & Albertini, G. (2010) Gait patterns in hemiplegic children with Cerebral Palsy: comparison of right and left hemiplegia. Research in Developmental Disabilities, 31, 6, 1340-5.

Nsenga Leunkeu, A., Lelard, T., Shephard, R. J., Doutrellot, P. L., & Ahmaidi, S. (2014) Gait cycle and plantar pressure distribution in children with cerebral palsy: Clinically useful outcome measures for a management and rehabilitation. NeuroRehabilitation.[Epub ahead of print]

Orlin, M. N., & McPoil, T. G. (2000) Plantar pressure assessment. Physical Therapy, 80, 399-409

Park, K. B., Park, H.W., Lee, K.S., Joo, S. Y., & Kim, H. W. (2008) Changes in dynamic foot pressure after surgical treatment of valgus deformity of the hindfoot in cerebral palsy. Journal of Bone and Joint Surgery, 90, 8, 1712-21

Pauk, J., Daunoraviciene, K., Ihnatouski, M., Griskevicius, & J., Raso, J. V. (2010). Analysis of the plantar pressure distribution in children with foot deformities. Acta of Bioengineering and Biomechanics, 12(1), 29-34.

Piccinini, L., Cimolin, V., Galli, M., Berti, M., Crivellini, M., & Turconi, A. C. (2007) Quantification of energy expenditure during gait in children affected by cerebral palsy. Europa Medicophysica, 43, 1, 7-12.

Rojas, V. G., Rebolledo, G. M., Muñoz, E. G., Cortés, N. I., Gaete, C. B., & Delgado, C. M. (2013) Differences in standing balance between patients with diplegic and hemiplegic cerebral palsy. Neural Regeneration Research, 15, 8, 26, 2478-83

Saxena, S., Rao, B. K., & Kumaran, S. (2014) Analysis of postural stability in children with cerebral palsy and children with typical development: an observational study. Pediatric Physical Therapy, 26, 3, 325-30

Sutherland, D. H., & Davids, J. R. (1993) Common gait abnormalities of the knee in cerebral palsy. Clinical Orthopaedics and Related Research, 288, 139-47